{"text_format":"3","workbook":"xls","n_sheets":8,"sheets":["封面","1-2建筑工程分类分项工程量清单","1-3设备采购和安装工程分类分项工程量清单","1-4措施项目清单","1-5其他项目清单","自动化监控材料表","安全文明措施费分解表","扬尘防治费分解表"],"not_rendered":{"external_links":1,"defined_names":6},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封面","index":0,"n_rows":22,"n_cols":7,"rows_kept":22,"merged":[[0,0,1,6],[2,0,2,5],[3,0,3,6],[4,0,4,6],[5,1,5,2],[5,3,5,6],[7,0,7,6],[8,1,8,5],[9,2,10,6],[10,0,11,1],[11,2,11,5],[12,0,13,6],[14,0,14,1],[14,2,14,5],[15,0,15,1],[16,2,17,5],[17,0,17,1],[18,0,18,1],[18,2,18,5],[19,0,19,1],[19,2,19,4],[19,5,19,6],[20,0,20,6],[21,2,21,5]],"flags":["formulas_cached_only"]}
[]
[]
["    邳州市镇西站搬迁及汇水箱涵改造工程",{"$nulls":5},"工程"]
[]
["招标人工程量清单格式"]
[null,"合同编号：",null,"ZXZ、HSXH-PZ-SG"]
[]
[]
["招   标   人："," ",{"$nulls":4},"(单位盖章)"]
[]
[" 法定代表人\r\n（或委托代理人）："]
[{"$nulls":6},"(签字并盖章)"]
[]
[]
[]
[]
["中介机构法定代表人"]
["（或委托代理人）：",{"$nulls":5},"（签字并盖章）"]
[]
["造价工程师及注册证号：",{"$nulls":4},"（签字并盖执业专用章）"]
[]
["    编 制 时 间：",null,"2019年05月27日"]

{"sheet":"1-2建筑工程分类分项工程量清单","index":1,"n_rows":135,"n_cols":6,"rows_kept":135,"merged":[[0,0,0,5],[1,0,1,5],[2,0,2,4],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[134,0,134,5]],"flags":["formulas_cached_only"]}
["建筑工程分类分项工程量清单"]
["合同编号:ZXZ、HSXH-PZ-SG"]
["工程名称:邳州市镇西站搬迁及汇水箱涵改造工程"]
["序号","项目编码","项目名称","计量\r\n单位","工程数量","备注"]
[]
["1","50","水利工程",null,{"v":0,"d":"0.00"}]
["1.1","5001","汇水箱涵工程（4*3m渐变至2×2m，长1300m）",null,{"v":0,"d":"0.00"}]
["1.1.1","500101","土方开挖工程",null,{"v":0,"d":"0.00"}]
["1.1.1.1","500101001","场地平整",null,{"v":0,"d":"0.00"}]
["1.1.1.1.1","500101001001","场地平整","项",{"v":1,"d":"1.00"},"总价承包"]
["1.1.1.2","500101002","一般土方开挖",null,{"v":0,"d":"0.00"}]
["1.1.1.2.1","500101002001","基坑开挖","m3",{"v":71421.9,"d":"71422"},"总价承包"]
["1.1.1.2.2","500101002002","人工开挖保护层土方","m3",{"v":3198.1,"d":"3198"},"总价承包"]
["1.1.2","500103","土石方填筑工程",null,{"v":0,"d":"0.00"}]
["1.1.2.1","500103001","一般土方填筑",null,{"v":0,"d":"0.00"}]
["1.1.2.1.1","500103001001","墙后土方回填\r1、拖拉机压实土方 干密度（g/cm3） ≤1.55\r\n2、电动打夯机夯实土方 干密度（g/cm3） ≤1.55","m3",{"v":76348.57,"d":"76349"},"总价承包"]
["1.1.3","500108","基础防渗和地基加固工程",null,{"v":0,"d":"0.00"}]
["1.1.3.1","500108009","其他防渗及地基加固",null,{"v":0,"d":"0.00"}]
["1.1.3.1.1","500108009001","基础换水泥土 水泥掺入比10%","m3",{"v":4097.14,"d":"4097"}]
["1.1.4","500109","混凝土工程",null,{"v":0,"d":"0.00"}]
["1.1.4.1","500109001","普通混凝土（含混凝土模板）",null,{"v":0,"d":"0.00"}]
["1.1.4.1.1","500109001001","C30垫层封底","m3",{"v":728,"d":"728.00"}]
["1.1.4.1.2","500109001002","C30洞身及截水环","m3",{"v":12500,"d":"12500.00"}]
["1.1.4.1.3","500109001003","C30检查井及预留口","m3",1508.57]
["1.1.4.1.4","500109001027","C30井筒、井圈","m3",8.86]
["1.1.4.2","500111001","钢筋加工及安装",null,{"v":0,"d":"0.00"}]
["1.1.4.2.1","500111001001","钢筋制作及安装","t",{"v":1132.4,"d":"1132.400"}]
["1.1.4.3","500114001","其他永久建筑工程",null,{"v":0,"d":"0.00"}]
["1.1.4.3.1","500114001013","重型球墨铸铁井盖","个",{"v":20,"d":"20.00"}]
["1.1.4.3.2","500114001014","预留排水支管混凝土管","m",{"v":400,"d":"400.00"}]
["1.2","5001","泵站工程（镇西站）",null,{"v":0,"d":"0.00"}]
["1.2.1","500101","站身及进出水池土方开挖工程",null,{"v":0,"d":"0.00"}]
["1.2.1.1","500101001","场地平整",null,{"v":0,"d":"0.00"}]
["1.2.1.1.1","500101001002","场地平整","项",1,"总价承包"]
["1.2.1.2","500101002","一般土方开挖",null,{"v":0,"d":"0.00"}]
["1.2.1.2.1","500101002003","基坑开挖","m3",{"v":28458.1,"d":"28458"},"总价承包"]
["1.2.1.2.2","500101002004","人工开挖保护层土方","m3",{"v":986.67,"d":"987"},"总价承包"]
["1.2.2","500103","站身及进出水池土石方填筑工程",null,{"v":0,"d":"0.00"}]
["1.2.2.1","500103001","一般土方填筑",null,{"v":0,"d":"0.00"}]
["1.2.2.1.1","500103001002","墙后土方填筑\r1、拖拉机压实土方 干密度（g/cm3） ≤1.55\r\n2、电动打夯机夯实土方 干密度（g/cm3） ≤1.55","m3",{"v":30711.43,"d":"30711"},"总价承包"]
["1.2.3","500101","出水涵洞土方开挖工程",null,0]
["1.2.3.1","500101002","一般土方开挖",null,0]
["1.2.3.1.1","500101002006","基坑开挖","m3",{"v":19463.81,"d":"19464"},"总价承包"]
["1.2.3.1.2","500101002005","人工开挖保护层土方","m3",{"v":336.19,"d":"336"},"总价承包"]
["1.2.4","500103","出水涵洞土石方填筑工程",null,{"v":0,"d":"0.00"}]
["1.2.4.1","500103001","一般土方填筑",null,{"v":0,"d":"0.00"}]
["1.2.4.1.1","500103001003","墙后土方填筑\r1、机械压实土方 干密度（g/cm3） ≤1.55\r\n2、人工夯实土方 干密度（g/cm3） ≤1.55\r","m3",{"v":21273.33,"d":"21273"},"总价承包"]
["1.2.5","500101","出水渠道土方开挖工程",null,0]
["1.2.5.1","500101002","一般土方开挖",null,0]
["1.2.5.1.1","500101002008","基坑开挖","m3",34200,"总价承包"]
["1.2.5.1.2","500101002007","人工开挖保护层土方","m3",3800,"总价承包"]
["1.2.6","500103","土石方填筑工程",null,{"v":0,"d":"0.00"}]
["1.2.6.1","500103007","垫层料填筑",null,{"v":0,"d":"0.00"}]
["1.2.6.1.1","500103007001","砂石垫层 粗砂","m3",85.52]
["1.2.6.1.2","500103007002","砂石垫层 碎石","m3",85.52]
["1.2.6.2","500103005","反滤料填筑",null,{"v":0,"d":"0.00"}]
["1.2.6.2.1","500103005001","反滤层","m3",199.05]
["1.2.6.3","500103014","土工合成材料铺设",null,{"v":0,"d":"0.00"}]
["1.2.6.3.1","500103014001","土工布铺设","m2",1297.14]
["1.2.7","500105","砌筑工程",null,{"v":0,"d":"0.00"}]
["1.2.7.1","500105001","干砌块石",null,{"v":0,"d":"0.00"}]
["1.2.7.1.1","500105001001","干砌块石防冲槽","m3",65.05]
["1.2.7.2","500105003","浆砌块石",null,{"v":0,"d":"0.00"}]
["1.2.7.2.1","500105003001","浆灌砌块石(进水流道)","m3",29.24]
["1.2.8","500108","基础防渗和地基加固工程",null,{"v":0,"d":"0.00"}]
["1.2.8.1","500108009","其他防渗及地基加固",null,{"v":0,"d":"0.00"}]
["1.2.8.1.1","500108009002","基础换水泥土 水泥掺入比10%","m3",{"v":5510.48,"d":"5510"}]
["1.2.8.2","500108003","高压喷射水泥搅拌桩",null,{"v":0,"d":"0.00"}]
["1.2.8.2.1","500108003001","高压摆喷灌浆 钻孔 地层类别 粘土、砂","m",1242.86]
["1.2.8.2.2","500108003002","高压摆喷灌浆 灌浆 地层类别 粘土","m",1242.86]
["1.2.8.3","500107008","钻孔",null,{"v":0,"d":"0.00"}]
["1.2.8.3.1","500107008001","回旋钻机钻孔 \r\n1、桩径100cm以内(陆地) 孔深30m以内 粘土","m",{"v":100,"d":"100.00"}]
["1.2.8.4","500108004","混凝土灌注桩",null,{"v":0,"d":"0.00"}]
["1.2.8.4.1","500108004001","C30灌注桩混凝土\r1、灌注桩工作平台 陆上工作平台\r\n2、陆上埋设钢护筒 桩径(cm) ≤120","m3",47.62]
["1.2.8.5","500111001","钢筋加工及安装",null,{"v":0,"d":"0.00"}]
["1.2.8.5.1","500111001002","灌注桩钢筋笼","t",5.71]
["1.2.9","500109","混凝土工程",null,{"v":0,"d":"0.00"}]
["1.2.9.1","500109001","普通混凝土(站身主体及进、出水池)（含混凝土模板）",null,{"v":0,"d":"0.00"}]
["1.2.9.1.1","500109001004","C30垫层封底","m3",217.52]
["1.2.9.1.2","500109001005","C30进水池铺盖","m3",182.38]
["1.2.9.1.3","500109001006","C30挡土墙底板","m3",268.86]
["1.2.9.1.4","500109001007","C30挡土墙立墙、扶壁","m3",{"v":290.1,"d":"290.10"}]
["1.2.9.1.5","500109001008","C30站身底板","m3",216.29]
["1.2.9.1.6","500109001009","C30站身中部结构","m3",486.67]
["1.2.9.1.7","500109001010","C30站身上部结构","m3",67.62]
["1.2.9.1.8","500109001011","C30出水池底板","m3",252.19]
["1.2.9.1.9","500109001012","C30出水池墩墙","m3",455.62]
["1.2.9.1.10","500109001028","C30顶管汇水箱底板","m3",347.62]
["1.2.9.1.11","500109001029","C30顶管汇水箱墩墙","m3",548.57]
["1.2.9.1.12","500109001030","C30顶管汇水箱顶板","m3",243.62]
["1.2.9.1.13","500109001031","C30清污机桥底板","m3",77.14]
["1.2.9.1.14","500109001032","C30清污机桥墩墙","m3",153.33]
["1.2.9.1.15","500109001033","C30清污机桥交通桥、检修桥、牛腿","m3",19.05]
["1.2.9.1.16","500109001034","C30出水管支墩","m3",31.24]
["1.2.9.1.17","500109001013","C25地坪","m3",57.14]
["1.2.9.1.18","500109001014","C30检修间基础","m3",95.24]
["1.2.9.2","500111001","钢筋加工及安装",null,{"v":0,"d":"0.00"}]
["1.2.9.2.1","500111001003","钢筋制作及安装","t",270.48]
["1.2.9.3","500114001","其他永久建筑工程",null,{"v":0,"d":"0.00"}]
["1.2.9.3.1","500114001015","C50顶管DN2200mm（含工作井、接收井）","m",{"v":288,"d":"288.00"}]
["1.2.9.3.2","500114001001","青石栏杆","m",{"v":179,"d":"179.00"}]
["1.2.9.4","500114002","其他临时建筑工程",null,{"v":0,"d":"0.00"}]
["1.2.9.4.1","500114002001","老站拆除","项",1,"总价承包"]
["1.2.9.4.2","500114002002","中运河大堤封堵","项",1,"总价承包"]
["1.2.10","500109","混凝土工程",null,{"v":0,"d":"0.00"}]
["1.2.10.1","500109001","普通混凝土（含混凝土模板）",null,{"v":0,"d":"0.00"}]
["1.2.10.1.1","500109001015","C25现浇混凝土护底","m3",36.19]
["1.2.10.1.2","500109001016","C25现浇混凝土护坡","m3",100.95]
["1.2.10.1.3","500109001017","C25格埂","m3",{"v":78.1,"d":"78.10"}]
["1.2.10.1.4","500109001018","C25踏步","m3",29.52]
["1.2.10.1.5","500109001019","C30垫层封底","m3",65.71]
["1.2.10.1.6","500109001020","C30出水涵洞洞身（含洞首、排架、工作桥）","m3",468.57]
["1.2.10.1.7","500109001021","C30消力池","m3",23.81]
["1.2.10.1.8","500109001022","C30检修桥","m3",4.76]
["1.2.10.1.9","500109001023","C30挡土墙底板","m3",362.86]
["1.2.10.1.10","500109001024","C30挡土墙立墙","m3",547.62]
["1.2.10.1.11","500109001025","C25排水沟","m3",165.05]
["1.2.10.1.12","500109001026","C25观测点基础","m3",{"v":61.9,"d":"61.90"}]
["1.2.10.2","500111001","钢筋加工及安装",null,{"v":0,"d":"0.00"}]
["1.2.10.2.1","500111001004","钢筋加工及安装","t",104.76]
["1.2.10.3","500114001","其他永久建筑工程",null,{"v":0,"d":"0.00"}]
["1.2.10.3.1","500114001002","青石栏杆","m",{"v":91,"d":"91.00"}]
["1.2.11","500114","其他建筑工程",null,{"v":0,"d":"0.00"}]
["1.2.11.1","500114001","其他永久建筑工程",null,{"v":0,"d":"0.00"}]
["1.2.11.1.1","500114001003","配电室","m2",{"v":259.2,"d":"259.20"}]
["1.2.11.1.2","500114001004","检修间","m2",{"v":35,"d":"35.00"}]
["1.2.11.1.3","500114001005","主厂房（泵房）","m2",{"v":135.8,"d":"135.80"}]
["1.2.11.1.4","500114001006","管理所","m2",{"v":1008,"d":"1008.00"}]
["1.2.11.1.5","500114001009","启闭机房","m2",{"v":33.3,"d":"33.30"}]
["1.2.11.1.6","500114001016","楼梯间","m2",{"v":99.8,"d":"99.80"}]
["1.2.11.1.7","500114001010","混凝土路面 压实厚度（cm） 18","m2",{"v":3000,"d":"3000.00"}]
["1.2.11.1.8","500114001011","二灰结石 压实厚度（cm） 15","m2",{"v":3720,"d":"3720.00"}]
["1.2.11.1.9","500114001012","石灰土稳定基层 压实厚度（cm） 15","m2",{"v":3840,"d":"3840.00"}]
[]
["注：房屋工程项目中包含除房屋装饰装修工程以外的所有项目"]

{"sheet":"1-3设备采购和安装工程分类分项工程量清单","index":2,"n_rows":84,"n_cols":6,"rows_kept":84,"merged":[[0,0,1,5],[2,0,2,5],[3,0,3,5],[4,0,4,5],[5,0,6,0],[5,1,6,1],[5,2,6,2],[5,3,6,3],[5,4,6,4],[5,5,6,5]],"flags":["formulas_cached_only"]}
["设备采购和安装工程分类分项工程量清单"]
[]
[]
["合同编号:ZXZ、HSXH-PZ-SG"]
["工程名称:邳州市镇西站搬迁及汇水箱涵改造工程"]
["序号","项目编码","项目名称","计量\r\n单位","工程\r\n数量","备注"]
[]
["1","50","水利工程",null,{"v":0,"d":"0.00"}]
["1.1","5002","水利安装工程",null,{"v":0,"d":"0.00"}]
["1.1.1","500201","机电设备购置及安装工程",null,{"v":0,"d":"0.00"}]
["1.1.1.1","500201003","大型泵站水泵设备安装",null,{"v":0,"d":"0.00"}]
["1.1.1.1.1","500201003001","竖轴水泵购置安装（900ZLB-85型水泵）","台",{"v":3,"d":"3.00"}]
["1.1.1.2","500201007","大型泵站电动机设备安装",null,{"v":0,"d":"0.00"}]
["1.1.1.2.1","500201007001","竖轴电动机购置安装 （210KW立式电机）","台",{"v":3,"d":"3.00"}]
["1.1.1.3","500201034","其他机电设备购置及安装工程",null,{"v":0,"d":"0.00"}]
["1.1.1.3.1","500201034001","辅助系统设备购置及安装","项",{"v":1,"d":"1.00"}]
["1.1.1.4","500201018","电缆安装及敷设",null,{"v":0,"d":"0.00"}]
["1.1.1.4.1","500201018001","高压电缆10kV（YJV22-3×95）","km",{"v":0.2,"d":"0.20"},"含购置费"]
["1.1.1.4.2","500201018002","低压电缆1KV（YJV-3×240，4芯）","km",{"v":0.1,"d":"0.10"},"含购置费"]
["1.1.1.4.3","500201018003","低压电缆1KV（YJV-3×16，4芯）","km",0.15,"含购置费"]
["1.1.1.4.4","500201018004","低压电缆1KV（YJV-3×25，4芯）","km",0.15,"含购置费"]
["1.1.1.4.5","500201018005","低压电缆1KV（YJV-3×50，4芯）","km",{"v":0.1,"d":"0.10"},"含购置费"]
["1.1.1.4.6","500201018006","控制电缆(KVVP-10×2.5)","km",{"v":1,"d":"1.00"},"含购置费"]
["1.1.1.4.7","500201018007","控制电缆(KVV-7×2.5)","km",{"v":1,"d":"1.00"},"含购置费"]
["1.1.1.4.8","500201018008","照明电线(BV-2.5)","km",{"v":0.5,"d":"0.50"},"含购置费"]
["1.1.1.4.9","500201018009","照明电线(BV-4)","km",{"v":0.5,"d":"0.50"},"含购置费"]
["1.1.1.5","500201022","高压电气设备购置及安装",null,{"v":0,"d":"0.00"}]
["1.1.1.5.1","500201022001","高压开关柜KYN28-12-A","项",{"v":6,"d":"6.00"},"含购置费"]
["1.1.1.6","500201034","其他机电设备购置及安装工程",null,{"v":0,"d":"0.00"}]
["1.1.1.6.1","500201034002","低压进线柜MNS-04","台",{"v":1,"d":"1.00"},"含购置费"]
["1.1.1.6.2","500201034003","低压补偿柜MNS-34","台",{"v":2,"d":"2.00"},"含购置费"]
["1.1.1.6.3","500201034004","主机开关柜MNS","台",{"v":5,"d":"5.00"},"含购置费"]
["1.1.1.6.4","500201034005","低压出线柜MNS-11","台",{"v":1,"d":"1.00"},"含购置费"]
["1.1.1.6.5","500201034006","动力箱","台",{"v":4,"d":"4.00"},"含购置费"]
["1.1.1.6.6","500201034007","照明箱PZ-30","只",{"v":2,"d":"2.00"},"含购置费"]
["1.1.1.6.7","500201034008","室外照明灯","套",{"v":10,"d":"10.00"},"含购置费"]
["1.1.1.6.8","500201034009","室内照明","套",{"v":40,"d":"40.00"},"含购置费"]
["1.1.1.6.9","500201034010","微机管控与视频监控（见自动化监控系统材料表）","项",{"v":1,"d":"1.00"},"含购置费"]
["1.1.1.6.10","500201034011","柱上负荷开关","台",{"v":1,"d":"1.00"},"含购置费"]
["1.1.1.7","500201020","接地装置购置及安装",null,{"v":0,"d":"0.00"}]
["1.1.1.7.1","500201020001","防雷接地系统","t",{"v":2,"d":"2.00"},"含购置费"]
["1.1.1.7.2","500201020002","避雷器","只",{"v":10,"d":"10.00"},"含购置费"]
["1.1.1.8","500201034","其他机电设备安装工程",null,{"v":0,"d":"0.00"}]
["1.1.1.8.1","500201034012","预埋基础、管道","t",{"v":1,"d":"1.00"},"含购置费"]
["1.1.1.8.2","500201034013","电工试验设备（万用表、工具箱、试电笔、滚轮接线盘各一套）","套",{"v":1,"d":"1.00"},"含购置费"]
["1.1.1.8.3","500201034014","干粉灭火器（6kg/只，2只/箱，含箱体）","箱",{"v":4,"d":"4.00"},"含购置费"]
["1.1.1.9","500201012","滑触线安装",null,{"v":0,"d":"0.00"}]
["1.1.1.9.1","500201012002","滑触线购置及安装","m",{"v":25,"d":"25.00"},"含购置费"]
["1.1.1.10","500201034","其他机电设备安装工程",null,{"v":0,"d":"0.00"}]
["1.1.1.10.1","500201034014","电缆桥架、支架","t",{"v":2,"d":"2.00"},"含购置费"]
["1.1.1.10.2","500201034015","供电系统终端负荷装置","项",{"v":1,"d":"1.00"},"含购置费"]
["1.1.1.11","500201018","电缆安装及敷设",null,{"v":0,"d":"0.00"}]
["1.1.1.11.1","500201018006","10kV供电线路","km",{"v":1.5,"d":"1.50"},"含购置费"]
["1.1.1.12","500201021","主变压器设备购置及安装",null,{"v":0,"d":"0.00"}]
["1.1.1.12.1","500201021001","所用变压器SC13-50KVA 10/0.4KV（含外壳、温控装置）","台",{"v":1,"d":"1.00"},"含购置费"]
["1.1.1.12.2","500201021002","主变压器SCB13-1600kVA/10/0.4kV","台",{"v":1,"d":"1.00"},"含购置费"]
["1.1.1.13","500201034","其他机电设备购置及安装工程",null,{"v":0,"d":"0.00"}]
["1.1.1.13.1","500201034016","通讯设备（固定电话）","套",{"v":1,"d":"1.00"},"含购置费"]
["1.1.1.13.2","500201034017","电动葫芦 起重能力（t) 5","台",{"v":1,"d":"1.00"},"含购置费"]
["1.1.1.13.3","500201034018","电动葫芦工字钢轨道 I36","m",{"v":28,"d":"28.00"},"含购置费"]
["1.1.2","500202","金属结构设备购置及安装工程",null,{"v":0,"d":"0.00"}]
["1.1.2.1","500202005","闸门设备购置及安装",null,{"v":0,"d":"0.00"}]
["1.1.2.1.1","500202005001","泵站进口检修门（钢闸门，含热喷锌防腐，门叶尺寸3.36×3.25）","t",{"v":3,"d":"3.00"},"含购置费"]
["1.1.2.2","500202007","一期埋件购置及安装",null,{"v":0,"d":"0.00"}]
["1.1.2.2.1","500202007001","泵站检修闸门埋件（5孔，含热喷锌防腐）","t",{"v":10,"d":"10.00"},"含购置费"]
["1.1.2.3","500202005","闸门设备购置及安装",null,{"v":0,"d":"0.00"}]
["1.1.2.3.1","500202005002","出口挡洪闸门（4.12×3.25m，含热喷锌防腐）","t",{"v":4.5,"d":"4.50"},"含购置费"]
["1.1.2.4","500202007","一期埋件购置及安装",null,{"v":0,"d":"0.00"}]
["1.1.2.4.1","500202007002","出口挡洪闸门埋件（含热喷锌防腐）","t",{"v":6,"d":"6.00"},"含购置费"]
["1.1.2.5","500202003","卷扬式启闭机设备购置及安装",null,{"v":0,"d":"0.00"}]
["1.1.2.5.1","500202003001","卷扬式启闭机QP-2×80KN安装 设备（含开度，现地控制等）","台",{"v":1,"d":"1.00"},"含购置费"]
["1.1.2.6","500202009","其他金属结构设备安装",null,{"v":0,"d":"0.00"}]
["1.1.2.6.1","500202009001","泵站进口检修门电动葫芦 起重能力（t) 5","台",{"v":1,"d":"1.00"},"含购置费"]
["1.1.2.6.2","500202009002","泵站进口检修门电动葫芦工字钢轨道 I32b（含热喷锌防腐）","m",{"v":19.4,"d":"19.40"},"含购置费"]
["1.1.2.6.3","500202009004","拍门电动葫芦 起重能力（t) 1","台",{"v":1,"d":"1.00"},"含购置费"]
["1.1.2.6.4","500202009003","拍门电动葫芦工字钢轨道 I32（含热喷锌防腐）","m",{"v":25,"d":"25.00"},"含购置费"]
["1.1.2.7","500202008","压力钢管安装",null,{"v":0,"d":"0.00"}]
["1.1.2.7.1","500202008001","出水管DN1200（含弯管、扩散管、伸缩节）","m",{"v":30,"d":"30.00"},"含购置费"]
["1.1.2.8","500202009","其他金属结构设备购置及安装",null,{"v":0,"d":"0.00"}]
["1.1.2.8.1","500202009005","节能侧翻拍门DN1200","个",{"v":3,"d":"3.00"},"含购置费"]
["1.1.2.8.2","500202009006","回转式清污机购置及安装(含控制箱、埋件、热喷锌防腐；不锈钢；孔口尺寸4m×6.0m）","台",{"v":1,"d":"1.00"},"含购置费"]
["1.1.2.8.3","500202009007","皮带输送机SPW-800，长10m","套",{"v":1,"d":"1.00"},"含购置费"]
["1.1.2.9","500202006","拦污栅设备购置及安装",null,{"v":0,"d":"0.00"}]
["1.1.2.9.1","500202006001","拦污栅栅体购置及安装（3.3×3.3m，宽×高；含热喷锌防腐）","t",{"v":10,"d":"10.00"},"含购置费"]

{"sheet":"1-4措施项目清单","index":3,"n_rows":19,"n_cols":7,"rows_kept":19,"merged":[[0,0,1,6],[2,0,2,6],[3,0,3,6],[4,0,4,6],[5,0,6,0],[5,1,6,1],[5,2,6,2],[5,3,6,3],[5,4,6,4],[5,5,6,5],[5,6,6,6]],"flags":["formulas_cached_only"]}
["措施项目清单"]
[]
[]
["合同编号:ZXZ、HSXH-PZ-SG"]
["工程名称:邳州市镇西站搬迁及汇水箱涵改造工程"]
["序号","项目名称","单位","数量","单价(元）","合价（元）","备注"]
[]
["1","环境保护措施","项","1"]
["2","安全文明施工措施费","项","1","812000.00","812000.00","不可竞争费用"]
["3","扬尘防治费","项","1","162400.00","162400.00","不可竞争费用"]
["4","临时工程","项","1"]
["5","围堰填筑拆除","项","1"]
["6","钢板桩打拔","T","5650",null,null,"按单价计算"]
["7","降排水","项","1"]
["8","场外道路维护","项","1"]
["9","场内施工道路","项","1"]
["10","保险费","项","1"]
["11","大型施工设备进退场费","项","1"]
["12","其他","项","1"]

{"sheet":"1-5其他项目清单","index":4,"n_rows":14,"n_cols":4,"rows_kept":14,"merged":[[0,0,1,3],[2,0,2,3],[3,0,3,3],[4,0,4,2],[5,0,6,0],[5,1,6,1],[5,2,6,2],[5,3,6,3]],"flags":["formulas_cached_only"]}
["其他项目清单"]
[]
[]
["合同编号:ZXZ、HSXH-PZ-SG"]
["工程名称:邳州市镇西站搬迁及汇水箱涵改造工程",null,null,"第&P页 共&S页"]
["序号","项目名称","金额（元）","备注"]
[]
["一","暂列金额"]
["1","预留金",{"v":1500000,"d":"1500000.00"}]
["二","暂估价"]
["2.1","站区绿化",{"v":300000,"d":"300000.00"}]
["2.2","围墙",{"v":190000,"d":"190000.00"},"暂按270米考虑"]
["2.3","房屋装饰装修（包含门窗、地板、内外装饰）",{"v":900000,"d":"900000.00"}]
["2.4","站区排水",{"v":50000,"d":"50000.00"}]

{"sheet":"自动化监控材料表","index":5,"n_rows":28,"n_cols":8,"rows_kept":28,"merged":[[0,0,0,7],[1,0,1,7],[2,0,2,4],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,6,4,6],[3,7,4,7]],"flags":["formulas_cached_only"]}
["主要自动化监控系统材料表"]
["合同编号:ZXZ、HSXH-PZ-SG"]
["工程名称:邳州市镇西站搬迁及汇水箱涵改造工程"]
["序号","项目名称","型号","计量单位","数量","单价(元)","合价(元)","备注"]
[]
["一","自动化监控系统配置清单"]
[1,"监控工作站","IPC-610/Aimb-763VG/酷睿双核2.8G(E7400)/ 8G内存，三星22液晶显示器/160G/DVD-ROM/键鼠/2年质保","台",1]
[2,"网络交换机","H3C S5120V2-10P-LJ","台",1]
[3,"网络打印机","HP  M203dw","台",1]
[4,"UPS不间断电源","STK 2KVA 2小时在线","套",1]
[5,"控制台","3000×950×750mm含2张椅","套",1]
[6,"组态软件","Force View 7","套",1]
[7,"应用软件","含上位机、触摸屏、控制器及报表软件","套",1]
[8,"水位传感器","MPM426W（0-10m） 含传感器、配套电缆","套",2]
[9,"安装调试费","不含预埋管及穿线","项",1]
[10,"防静电地板",null,"项",1]
["二"," 视频系统设备清单"]
[1,"网络硬盘录像机","DH-DVR1604LF-ST，1TB硬盘， 视频系统软件","套",1]
[2,"固定摄像机","DH-SD7A2205-W 含安装支架","套",3]
[3,"活动摄像机","DH-IPC-5221D-AS含镜头、配套安装支架","套",3]
[4,"摄像机电源",null,"项",1]
[5,"显示器","三星22液晶显示器","台",1]
[6,"视频电缆","SYVPVP75-5","米",1000,null,null,"所列长度为估数"]
[7,"控制电缆","RVVP2*1.5","米",500,null,null,"所列长度为估数"]
[8,"电源电缆","RVV2*1.5","米",1000,null,null,"所列长度为估数"]
[9,"防雷系统 ",null,"套",1]
[10,"管线及辅材",null,"项",1]
[11,"安装调试费",null,"项",1]

{"sheet":"安全文明措施费分解表","index":6,"n_rows":35,"n_cols":7,"rows_kept":35,"merged":[[0,0,1,6],[2,0,2,6],[3,0,3,6],[4,0,4,3],[5,0,6,0],[5,1,6,1],[5,2,6,2],[5,3,6,3],[5,4,6,4],[5,5,6,5],[5,6,6,6]],"flags":["formulas_cached_only"]}
["安全文明措施费分解表"]
[]
[]
["合同编号:ZXZ、HSXH-PZ-SG"]
["工程名称:邳州市镇西站搬迁及汇水箱涵改造工程",{"$nulls":5},"第&P页 共&S页"]
["序号","项目名称","计量单位","数量","单价(元)","合价(元)","备注"]
[]
["一","完善、改造和维护安全防护设施设备",null,0,0,0]
["1","现场临时用电防护",null,0,0,0,"用电保护；高压区和用电危险区防护和围挡"]
["2","洞口、临边防护",null,0,0,0,"洞口、临边等危险部位防坠、防滑设施；临时防护盖板或围栏和隔离防护层"]
["3","机械设备防护",null,0,0,0,"钢防护网罩、防护挡板、防护栏杆等安全防护"]
["4","高处作业防护",null,0,0,0,"防止物体、人员坠落而设置的安全网、防护棚、防护栏杆、警戒线"]
["5","交叉作业防护",null,0,0,0,"平面、立面交叉作业时的防护"]
["6","防火、防爆、防尘、防毒",null,0,0,0]
["7","防雷、防台风、放地质灾害",null,0,0,0]
["8","地下工程有害气体监测、通风",null,0,0,0]
["9","临时安全防护",null,0,0,0,"围堰安全监测、防护，高脚手、高立模安全防护"]
["10","安全警示标志",null,0,0,0,"警告、提醒、指令、指示等标志、标牌；示警灯、报警闪光灯、夜间警示灯、照明灯"]
["二","配备、维护、保养应急救援器材、设备和应急演练",null,0,0,0]
["1","配备、维护、保养应急救援器材、设备",null,0,0,0,"应急救援器材、设备的配备、维护、保养和更新"]
["2","应急演练",null,0,0,0]
["三","重大危险源和事故隐患评估、监控和整改",null,0,0,0]
["1","重大危险源评估、监控与管理",null,0,0,0]
["2","事故隐患排查、评估和整改",null,0,0,0]
["四","安全文明生产检查、评价、咨询和标准化建设",null,0,0,0,"安全文明生产检查、评价、咨询和标准化建设持续改进等。不含企业安全生产标准化等级创建过程中给予咨询评价机构的评价咨询费用"]
["五","配备和更新现场作业人员安全防护用品",null,0,0,0,"必须配备的安全防护用品及对安全防护用品的正常损耗进行必要补充"]
["六","安全文明生产宣传、教育、培训",null,0,0,0,"安全文明宣传活动、标语、展板、音像、图片资料等；安全技术交底、安全操作规程培训、安全知识教育；知识竞赛、技能竞赛、专题会议；经验交流、现场观摩"]
["七","安全文明生产适用的新技术、新标准、新工艺、新装备的推广应用",null,0,0,0]
["八","安全设施及特种设备检测检验",null,0,0,0]
["九","文明施工、生活设施和环境的改善、运行和维护",null,0,0,0]
["1","现场布置",null,0,0,0,"现场围挡、五板一图、企业标志"]
["2","办公和生活设施",null,0,0,0,"施工现场办公、生活区与作业区分开设置，保持安全距离；设施符合卫生和安全要求；文体卫生设施配备"]
["3","现场管理",null,0,0,0,"场容场貌；工地地面硬化处理等；材料堆放；扬尘控制；垃圾清运；环境美化、绿化；现场保洁"]
["十","其他与安全文明施工直接相关的内容",null,0,0,0,"含廉政建设费用"]
[null,"总计",null,0,0,0]

{"sheet":"扬尘防治费分解表","index":7,"n_rows":38,"n_cols":7,"rows_kept":38,"merged":[[0,0,1,6],[2,0,2,6],[3,0,3,3],[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,4,5,4],[4,5,5,5],[4,6,5,6],[37,0,37,6]],"flags":["formulas_cached_only"]}
["扬尘防治费分解表"]
[]
["合同编号:ZXZ、HSXH-PZ-SG"]
["工程名称:邳州市镇西站搬迁及汇水箱涵改造工程",{"$nulls":5},"第&P页 共&S页"]
["序号","项目名称","计量单位","数量","单价(元)","合价(元)","备注"]
{"$rows_empty":32}
["注：请投标人自行填写，按时结算。"]