{"text_format":"3","workbook":"xls","n_sheets":9,"sheets":["1.1 扉-1 扉页","3.2 13-Qdxm_zb-表-08 分部分项工程和单(2)","3.3 13-Csxm1_zb-表-11 总价措施项目清单与计","3.1 13-Gfsj_zb-表-13 规费、税金项目计价表","3.4 13-Qtxm_zb-表-12 其他项目清单与计价汇总","3.5 13-Zygczg_zb-表-12-3 专业工程暂估价","4.2 13-Qdxm_zb-表-08 分部分项工程和单价措施","4.3 13-Csxm1_zb-表-11 总价措施项目清单与计","4.1 13-Gfsj_zb-表-13 规费、税金项目计价表"],"not_rendered":{"external_links":1,"defined_names":9},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1.1 扉-1 扉页","index":0,"n_rows":20,"n_cols":8,"rows_kept":20,"merged":[[1,2,2,6],[1,7,2,7],[4,0,4,9],[7,1,7,2],[7,6,7,8],[8,6,8,8],[10,1,11,2],[10,3,11,3],[10,5,11,5],[11,6,11,8],[12,6,12,8],[15,1,15,2],[15,6,15,8],[16,6,16,8],[19,1,19,2],[19,6,19,8]],"flags":["formulas_cached_only"]}
[]
[null,null,"邳州市水行政执法基地建设工程管理房",{"$nulls":4},"工程"]
[]
[]
["招标工程量清单"]
[]
[]
[null,"招  标  人：",{"$nulls":3},"造价咨询人："]
[{"$nulls":3},"（单位盖章）",null,null,"（单位资质专用章）"]
[]
[null,"法定代表人\n或其授权人：",{"$nulls":3},"法定代表人\n或其授权人："]
[]
[{"$nulls":3},"（签字或盖章）",null,null,"（签字或盖章）"]
[]
[]
[null,"编  制  人：",{"$nulls":3},"复  核  人："]
[{"$nulls":3},"（造价人员签字盖专用章）",null,null,"（造价工程师签字盖专用章）"]
[]
[]
[null,"编 制 时 间：",null,"2019年  月  日",null,"复 核 时 间：","2019年  月  日"]

{"sheet":"3.2 13-Qdxm_zb-表-08 分部分项工程和单(2)","index":1,"n_rows":251,"n_cols":12,"rows_kept":251,"merged":[[0,0,0,11],[1,0,1,3],[1,4,1,9],[1,10,1,11],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,4],[2,5,4,5],[2,6,4,7],[2,8,2,11],[3,8,4,8],[3,9,4,10],[5,2,5,4],[5,6,5,7],[5,9,5,10],[6,3,6,4],[6,6,6,7],[6,9,6,10],[7,3,7,4],[7,6,7,7],[7,9,7,10],[8,3,8,4],[8,6,8,7],[8,9,8,10],[9,3,9,4],[9,6,9,7],[9,9,9,10],[10,2,10,4],[10,6,10,7],[10,9,10,10],[11,2,11,4],[11,6,11,7],[11,9,11,10],[12,3,12,4],[12,6,12,7],[12,9,12,10],[13,0,14,0],[13,1,14,1],[13,2,14,2],[13,3,14,4],[13,5,14,5],[13,6,14,7],[13,8,14,8],[13,9,14,10],[13,11,14,11],[15,0,16,0],[15,1,16,1],[15,2,16,2],[15,3,16,4],[15,5,16,5],[15,6,16,7],[15,8,16,8],[15,9,16,10],[15,11,16,11],[17,0,18,0],[17,1,18,1],[17,2,18,2],[17,3,18,4],[17,5,18,5],[17,6,18,7],[17,8,18,8],[17,9,18,10],[17,11,18,11],[19,2,19,4],[19,6,19,7],[19,9,19,10],[20,0,20,8],[20,9,20,10],[22,7,22,11],[23,0,23,11],[24,0,24,3],[24,4,24,9],[24,10,24,11],[25,0,27,0],[25,1,27,1],[25,2,27,2],[25,3,27,4],[25,5,27,5],[25,6,27,7],[25,8,25,11],[26,8,27,8],[26,9,27,10],[28,2,28,4],[28,6,28,7],[28,9,28,10],[29,3,29,4],[29,6,29,7],[29,9,29,10],[30,3,30,4],[30,6,30,7],[30,9,30,10],[31,3,31,4],[31,6,31,7],[31,9,31,10],[32,3,32,4],[32,6,32,7],[32,9,32,10],[33,3,33,4],[33,6,33,7],[33,9,33,10],[34,3,34,4],[34,6,34,7],[34,9,34,10],[35,3,35,4],[35,6,35,7],[35,9,35,10],[36,3,36,4],[36,6,36,7],[36,9,36,10],[37,3,37,4],[37,6,37,7],[37,9,37,10],[38,3,38,4],[38,6,38,7],[38,9,38,10],[39,3,39,4],[39,6,39,7],[39,9,39,10],[40,3,40,4],[40,6,40,7],[40,9,40,10],[41,3,41,4],[41,6,41,7],[41,9,41,10],[42,3,42,4],[42,6,42,7],[42,9,42,10],[43,3,43,4],[43,6,43,7],[43,9,43,10],[44,3,44,4],[44,6,44,7],[44,9,44,10],[45,3,45,4],[45,6,45,7],[45,9,45,10],[46,3,46,4],[46,6,46,7],[46,9,46,10],[47,0,47,8],[47,9,47,10],[49,7,49,11],[50,0,50,11],[51,0,51,3],[51,4,51,9],[51,10,51,11],[52,0,54,0],[52,1,54,1],[52,2,54,2],[52,3,54,4],[52,5,54,5],[52,6,54,7],[52,8,52,11],[53,8,54,8],[53,9,54,10],[55,0,56,0],[55,1,56,1],[55,2,56,2],[55,3,56,4],[55,5,56,5],[55,6,56,7],[55,8,56,8],[55,9,56,10],[55,11,56,11],[57,3,57,4],[57,6,57,7],[57,9,57,10],[58,3,58,4],[58,6,58,7],[58,9,58,10],[59,3,59,4],[59,6,59,7],[59,9,59,10],[60,3,60,4],[60,6,60,7],[60,9,60,10],[61,3,61,4],[61,6,61,7],[61,9,61,10],[62,3,62,4],[62,6,62,7],[62,9,62,10],[63,3,63,4],[63,6,63,7],[63,9,63,10],[64,3,64,4],[64,6,64,7],[64,9,64,10],[65,3,65,4],[65,6,65,7],[65,9,65,10],[66,2,66,4],[66,6,66,7],[66,9,66,10],[67,2,67,4],[67,6,67,7],[67,9,67,10],[68,3,68,4],[68,6,68,7],[68,9,68,10],[69,3,69,4],[69,6,69,7],[69,9,69,10],[70,3,70,4],[70,6,70,7],[70,9,70,10],[71,3,71,4],[71,6,71,7],[71,9,71,10],[72,0,72,8],[72,9,72,10],[74,7,74,11],[75,0,75,11],[76,0,76,3],[76,4,76,9],[76,10,76,11],[77,0,79,0],[77,1,79,1],[77,2,79,2],[77,3,79,4],[77,5,79,5],[77,6,79,7],[77,8,77,11],[78,8,79,8],[78,9,79,10],[80,2,80,4],[80,6,80,7],[80,9,80,10],[81,2,81,4],[81,6,81,7],[81,9,81,10],[82,3,82,4],[82,6,82,7],[82,9,82,10],[83,3,83,4],[83,6,83,7],[83,9,83,10],[84,0,85,0],[84,1,85,1],[84,2,85,2],[84,3,85,4],[84,5,85,5],[84,6,85,7],[84,8,85,8],[84,9,85,10],[84,11,85,11],[86,3,86,4],[86,6,86,7],[86,9,86,10],[87,3,87,4],[87,6,87,7],[87,9,87,10],[88,3,88,4],[88,6,88,7],[88,9,88,10],[89,2,89,4],[89,6,89,7],[89,9,89,10],[90,2,90,4],[90,6,90,7],[90,9,90,10],[91,0,92,0],[91,1,92,1],[91,2,92,2],[91,3,92,4],[91,5,92,5],[91,6,92,7],[91,8,92,8],[91,9,92,10],[91,11,92,11],[93,3,93,4],[93,6,93,7],[93,9,93,10],[94,3,94,4],[94,6,94,7],[94,9,94,10],[95,3,95,4],[95,6,95,7],[95,9,95,10],[96,3,96,4],[96,6,96,7],[96,9,96,10],[97,0,97,8],[97,9,97,10],[99,7,99,11],[100,0,100,11],[101,0,101,3],[101,4,101,9],[101,10,101,11],[102,0,104,0],[102,1,104,1],[102,2,104,2],[102,3,104,4],[102,5,104,5],[102,6,104,7],[102,8,102,11],[103,8,104,8],[103,9,104,10],[105,0,107,0],[105,1,107,1],[105,2,107,2],[105,3,107,4],[105,5,107,5],[105,6,107,7],[105,8,107,8],[105,9,107,10],[105,11,107,11],[108,2,108,4],[108,6,108,7],[108,9,108,10],[109,2,109,4],[109,6,109,7],[109,9,109,10],[110,0,112,0],[110,1,112,1],[110,2,112,2],[110,3,112,4],[110,5,112,5],[110,6,112,7],[110,8,112,8],[110,9,112,10],[110,11,112,11],[113,0,115,0],[113,1,115,1],[113,2,115,2],[113,3,115,4],[113,5,115,5],[113,6,115,7],[113,8,115,8],[113,9,115,10],[113,11,115,11],[116,3,116,4],[116,6,116,7],[116,9,116,10],[117,3,117,4],[117,6,117,7],[117,9,117,10],[118,3,118,4],[118,6,118,7],[118,9,118,10],[119,3,119,4],[119,6,119,7],[119,9,119,10],[120,3,120,4],[120,6,120,7],[120,9,120,10],[121,3,121,4],[121,6,121,7],[121,9,121,10],[122,3,122,4],[122,6,122,7],[122,9,122,10],[123,3,123,4],[123,6,123,7],[123,9,123,10],[124,0,124,8],[124,9,124,10],[126,7,126,11],[127,0,127,11],[128,0,128,3],[128,4,128,9],[128,10,128,11],[129,0,131,0],[129,1,131,1],[129,2,131,2],[129,3,131,4],[129,5,131,5],[129,6,131,7],[129,8,129,11],[130,8,131,8],[130,9,131,10],[132,0,133,0],[132,1,133,1],[132,2,133,2],[132,3,133,4],[132,5,133,5],[132,6,133,7],[132,8,133,8],[132,9,133,10],[132,11,133,11],[134,0,136,0],[134,1,136,1],[134,2,136,2],[134,3,136,4],[134,5,136,5],[134,6,136,7],[134,8,136,8],[134,9,136,10],[134,11,136,11],[137,0,138,0],[137,1,138,1],[137,2,138,2],[137,3,138,4],[137,5,138,5],[137,6,138,7],[137,8,138,8],[137,9,138,10],[137,11,138,11],[139,0,140,0],[139,1,140,1],[139,2,140,2],[139,3,140,4],[139,5,140,5],[139,6,140,7],[139,8,140,8],[139,9,140,10],[139,11,140,11],[141,0,142,0],[141,1,142,1],[141,2,142,2],[141,3,142,4],[141,5,142,5],[141,6,142,7],[141,8,142,8],[141,9,142,10],[141,11,142,11],[143,3,143,4],[143,6,143,7],[143,9,143,10],[144,0,144,8],[144,9,144,10],[146,7,146,11],[147,0,147,11],[148,0,148,3],[148,4,148,9],[148,10,148,11],[149,0,151,0],[149,1,151,1],[149,2,151,2],[149,3,151,4],[149,5,151,5],[149,6,151,7],[149,8,149,11],[150,8,151,8],[150,9,151,10],[152,0,153,0],[152,1,153,1],[152,2,153,2],[152,3,153,4],[152,5,153,5],[152,6,153,7],[152,8,153,8],[152,9,153,10],[152,11,153,11],[154,3,154,4],[154,6,154,7],[154,9,154,10],[155,3,155,4],[155,6,155,7],[155,9,155,10],[156,2,156,4],[156,6,156,7],[156,9,156,10],[157,2,157,4],[157,6,157,7],[157,9,157,10],[158,0,160,0],[158,1,160,1],[158,2,160,2],[158,3,160,4],[158,5,160,5],[158,6,160,7],[158,8,160,8],[158,9,160,10],[158,11,160,11],[161,0,162,0],[161,1,162,1],[161,2,162,2],[161,3,162,4],[161,5,162,5],[161,6,162,7],[161,8,162,8],[161,9,162,10],[161,11,162,11],[163,3,163,4],[163,6,163,7],[163,9,163,10],[164,3,164,4],[164,6,164,7],[164,9,164,10],[165,0,165,8],[165,9,165,10],[167,7,167,11],[168,0,168,11],[169,0,169,3],[169,4,169,9],[169,10,169,11],[170,0,172,0],[170,1,172,1],[170,2,172,2],[170,3,172,4],[170,5,172,5],[170,6,172,7],[170,8,170,11],[171,8,172,8],[171,9,172,10],[173,3,173,4],[173,6,173,7],[173,9,173,10],[174,2,174,4],[174,6,174,7],[174,9,174,10],[175,2,175,4],[175,6,175,7],[175,9,175,10],[176,0,178,0],[176,1,178,1],[176,2,178,2],[176,3,178,4],[176,5,178,5],[176,6,178,7],[176,8,178,8],[176,9,178,10],[176,11,178,11],[179,0,180,0],[179,1,180,1],[179,2,180,2],[179,3,180,4],[179,5,180,5],[179,6,180,7],[179,8,180,8],[179,9,180,10],[179,11,180,11],[181,2,181,4],[181,6,181,7],[181,9,181,10],[182,2,182,4],[182,6,182,7],[182,9,182,10],[183,0,184,0],[183,1,184,1],[183,2,184,2],[183,3,184,4],[183,5,184,5],[183,6,184,7],[183,8,184,8],[183,9,184,10],[183,11,184,11],[185,0,186,0],[185,1,186,1],[185,2,186,2],[185,3,186,4],[185,5,186,5],[185,6,186,7],[185,8,186,8],[185,9,186,10],[185,11,186,11],[187,3,187,4],[187,6,187,7],[187,9,187,10],[188,2,188,4],[188,6,188,7],[188,9,188,10],[189,0,189,8],[189,9,189,10],[190,7,190,11],[191,0,191,11],[192,0,192,3],[192,4,192,9],[192,10,192,11],[193,0,195,0],[193,1,195,1],[193,2,195,2],[193,3,195,4],[193,5,195,5],[193,6,195,7],[193,8,193,11],[194,8,195,8],[194,9,195,10],[196,2,196,4],[196,6,196,7],[196,9,196,10],[197,3,197,4],[197,6,197,7],[197,9,197,10],[198,2,198,4],[198,6,198,7],[198,9,198,10],[199,2,199,4],[199,6,199,7],[199,9,199,10],[200,3,200,4],[200,6,200,7],[200,9,200,10],[201,3,201,4],[201,6,201,7],[201,9,201,10],[202,3,202,4],[202,6,202,7],[202,9,202,10],[203,3,203,4],[203,6,203,7],[203,9,203,10],[204,3,204,4],[204,6,204,7],[204,9,204,10],[205,3,205,4],[205,6,205,7],[205,9,205,10],[206,3,206,4],[206,6,206,7],[206,9,206,10],[207,3,207,4],[207,6,207,7],[207,9,207,10],[208,3,208,4],[208,6,208,7],[208,9,208,10],[209,3,209,4],[209,6,209,7],[209,9,209,10],[210,3,210,4],[210,6,210,7],[210,9,210,10],[211,3,211,4],[211,6,211,7],[211,9,211,10],[212,3,212,4],[212,6,212,7],[212,9,212,10],[213,0,213,8],[213,9,213,10],[215,7,215,11],[216,0,216,11],[217,0,217,3],[217,4,217,9],[217,10,217,11],[218,0,220,0],[218,1,220,1],[218,2,220,2],[218,3,220,4],[218,5,220,5],[218,6,220,7],[218,8,218,11],[219,8,220,8],[219,9,220,10],[221,0,222,0],[221,1,222,1],[221,2,222,2],[221,3,222,4],[221,5,222,5],[221,6,222,7],[221,8,222,8],[221,9,222,10],[221,11,222,11],[223,3,223,4],[223,6,223,7],[223,9,223,10],[224,3,224,4],[224,6,224,7],[224,9,224,10],[225,3,225,4],[225,6,225,7],[225,9,225,10],[226,3,226,4],[226,6,226,7],[226,9,226,10],[227,2,227,4],[227,6,227,7],[227,9,227,10],[228,3,228,4],[228,6,228,7],[228,9,228,10],[229,3,229,4],[229,6,229,7],[229,9,229,10],[230,3,230,4],[230,6,230,7],[230,9,230,10],[231,3,231,4],[231,6,231,7],[231,9,231,10],[232,3,232,4],[232,6,232,7],[232,9,232,10],[233,3,233,4],[233,6,233,7],[233,9,233,10],[234,3,234,4],[234,6,234,7],[234,9,234,10],[235,3,235,4],[235,6,235,7],[235,9,235,10],[236,3,236,4],[236,6,236,7],[236,9,236,10],[237,3,237,4],[237,6,237,7],[237,9,237,10],[238,3,238,4],[238,6,238,7],[238,9,238,10],[239,3,239,4],[239,6,239,7],[239,9,239,10],[240,3,240,4],[240,6,240,7],[240,9,240,10],[241,3,241,4],[241,6,241,7],[241,9,241,10],[242,3,242,4],[242,6,242,7],[242,9,242,10],[243,3,243,4],[243,6,243,7],[243,9,243,10],[244,3,244,4],[244,6,244,7],[244,9,244,10],[245,3,245,4],[245,6,245,7],[245,9,245,10],[246,3,246,4],[246,6,246,7],[246,9,246,10],[247,0,247,8],[247,9,247,10],[248,0,248,8],[248,9,248,10],[250,7,250,11]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",{"$nulls":3},"标段：",{"$nulls":5},"第1页 共10页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
[null,null,"0101 土石方工程",{"$nulls":3},""]
["1","010101001001","平整场地","1、土壤类别：一、二类土\n2、弃土运距：自行考虑",null,"m2","249.76"]
["2","010101002001","挖一般土方","1、土壤类别：一、二类土\n2、挖土深度：2M内\n3、弃土运距：场内堆放",null,"m3","412.12"]
["3","010101004001","挖基坑土方","1、土壤类别：一、二类土\n2、挖土深度：0.8m\n3、备注：基础处理",null,"m3","159.68"]
["4","010103001001","回填方","1、密实度要求：图纸设计要求\n2、填方材料品种：素土\n3、填方来源、运距：自行考虑",null,"m3","305.7"]
[null,null,"分部小计",{"$nulls":3},""]
[null,null,"0104 砌筑工程",{"$nulls":3},""]
["5","010401001001","砖基础","1、砖品种、规格、强度等级：蒸压粉煤灰砖,强度等级为MU20\n2、砂浆强度等级：水泥砂浆M10.0",null,"m3","41.57"]
["6","010401003001","实心砖墙","1、砖品种、规格、强度等级：蒸压粉煤灰砖,强度等级为MU15\n2、墙体类型：外墙\n3、砂浆强度等级、配合比：混合M7.5",null,"m3","107.77"]
[]
["7","010401003002","实心砖墙","1、砖品种、规格、强度等级：蒸压粉煤灰砖,强度等级为MU15\n2、墙体类型：内墙\n3、砂浆强度等级、配合比：混合M7.5",null,"m3","146"]
[]
["8","010401003003","实心砖墙","1、砖品种、规格、强度等级：蒸压粉煤灰砖,强度等级为MU15\n2、墙体类型：内墙\n3、砂浆强度等级、配合比：混合M7.5\n4、备注：120mm",null,"m3","5.69"]
[]
[null,null,"分部小计",{"$nulls":3},""]
["本页小计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",{"$nulls":3},"标段：",{"$nulls":5},"第2页 共10页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
[null,null,"0105 混凝土及钢筋混凝土工程",{"$nulls":3},""]
["9","010404001001","垫层","1、垫层材料种类、配合比、厚度：80cm碎石垫层",null,"m3","159.68"]
["10","010501001001","垫层","1、混凝土种类：商品砼\n2、混凝土强度等级：C15",null,"m3","19.96"]
["11","010501002001","带形基础","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、备注：无梁式",null,"m3","48.83"]
["12","010502002001","构造柱","1、混凝土种类：商品砼\n2、混凝土强度等级：C25",null,"m3","32.83"]
["13","010503001001","基础梁","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、备注：有底模",null,"m3","0.34"]
["14","010503002001","矩形梁","1、混凝土种类：商品砼\n2、混凝土强度等级：C25",null,"m3","0.2"]
["15","010503004001","圈梁","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、名称：地圈梁",null,"m3","9.17"]
["16","010503004002","圈梁","1、混凝土种类：商品砼\n2、混凝土强度等级：C25",null,"m3","31.66"]
["17","010503004003","圈梁","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、名称：窗台板",null,"m3","3.22"]
["18","010503005001","过梁","1、混凝土种类：商品砼\n2、混凝土强度等级：C25",null,"m3","4.1"]
["19","010505003001","平板","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、板厚：100mm\n4、层高：3.6m内",null,"m3","43.54"]
{"$rows_empty":7}
["本页小计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",{"$nulls":3},"标段：",{"$nulls":5},"第3页 共10页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["20","010505003002","平板","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、板厚：120mm\n4、层高：3.6m内\n5、备注：斜板",null,"m3","29.7"]
[]
["21","010505008001","雨篷、悬挑板、阳台板","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、名称：板式雨篷",null,"m3","1.07"]
["22","010505007001","天沟（檐沟）、挑檐板","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、名称：雨蓬侧板",null,"m3","0.34"]
["23","010505007002","天沟（檐沟）、挑檐板","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、名称：挑檐",null,"m3","15.37"]
["24","010506001001","直形楼梯","1、混凝土种类：商品砼\n2、混凝土强度等级：C25",null,"m2","30.23"]
["25","010507001001","散水、坡道","1、图集做法：12J003-1B/A1\n2、名称：散水",null,"m2","33.02"]
["26","010507004001","台阶","1、图集做法：12J003-5A/B2",null,"m2","3.42"]
["27","010515001001","现浇构件钢筋","1、钢筋种类、规格：12内三级钢",null,"t","12.462"]
["28","010515001002","现浇构件钢筋","1、钢筋种类、规格：25内三级钢",null,"t","3.263"]
["29","010515001003","现浇构件钢筋","1、钢筋种类、规格：砌体加固筋",null,"t","0.468"]
[null,null,"分部小计",{"$nulls":3},""]
[null,null,"0108 门窗工程",{"$nulls":3},""]
["30","010801001001","木质门","1、门代号及洞口尺寸：成品木质门",null,"m2","54.18"]
["31","010802001001","金属（塑钢）门","1、门框、扇材质：隔热金属型材6中透光Low-E+12空气+6透明中空安全玻璃",null,"m2","15.08"]
["32","010802004001","防盗门","1、门代号及洞口尺寸：成品防盗门",null,"m2","7.2"]
["33","010807001001","金属（塑钢、断桥）窗","1、框、扇材质：隔热金属型材6中透光Low-E+12空气+6透明",null,"m2","190.86"]
["本页小计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",{"$nulls":3},"标段：",{"$nulls":5},"第4页 共10页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
[null,null,"分部小计",{"$nulls":3},""]
[null,null,"0109 屋面及防水工程",{"$nulls":3},""]
["34","010901001002","瓦屋面","1、瓦品种、规格：砼瓦\n2、粘结层砂浆的配合比：顺水条、挂瓦条",null,"m2","369.44"]
["35","010902001001","屋面卷材防水","1、卷材品种、规格、厚度：4mm厚SBS卷材防水，15厚1：3水泥砂浆找平层",null,"m2","369.44"]
["36","010902003001","屋面刚性层","1、刚性层厚度：40厚C20细石混凝土表面加浆(内配c4@200X200钢筋网与屋面板预埋c10钢筋头绑牢,并将40x20木条,中距≤500与钢筋网扎在一起",null,"m2","369.44"]
[]
["37","010903002001","墙面涂膜防水","1、防水膜品种：1.2mm厚聚氨酯防水涂料\n2、部位：卫生间内墙",null,"m2","210.77"]
["38","010904002001","楼（地）面涂膜防水","1、防水膜品种：1.8mm厚聚氨酯防水涂料\n2、反边高度：300mm\n3、部位：一层地面",null,"m2","270.07"]
["39","010904002002","楼（地）面涂膜防水","1、防水膜品种：1.2mm厚聚氨酯防水涂料\n2、反边高度：300mm\n3、部位：楼面卫生间",null,"m2","41.78"]
[null,null,"分部小计",{"$nulls":3},""]
[null,null,"0110 保温、隔热、防腐工程",{"$nulls":3},""]
["40","011001001001","保温隔热屋面","1、保温隔热材料品种、规格、厚度：75厚挤塑聚苯板(XPS)(燃烧性能B1级)， 挤塑聚苯板粘结剂，20厚1:2水泥砂浆找平层",null,"m2","369.44"]
[]
["41","011001002001","保温隔热天棚","1、保温隔热面层材料品种、规格、性能：20mm厚保温砂浆\n2、部位：雨棚",null,"m2","14.64"]
[]
[]
[]
["本页小计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",{"$nulls":3},"标段：",{"$nulls":5},"第5页 共10页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["42","011001003001","保温隔热墙面","1、保温隔热部位：外墙\n2、保温隔热方式：15厚防裂抗渗砂浆(压入玻纤网格布一层,底层加设一层)压实抹光水刷带出小麻面，20厚挤塑聚苯板(胶黏剂在保温板背面,并用锚栓固定)，专用粘贴剂，20厚1:3聚合物防水砂浆找平层",null,"m2","656.03"]
[]
[]
[null,null,"分部小计",{"$nulls":3},""]
[null,null,"0111 楼地面装饰工程",{"$nulls":3},""]
["43","011102003001","块料楼地面","1、找平层厚度、砂浆配合比：150mm厚碎石垫层，60mm厚C15砼\n2、结合层厚度、砂浆配合比：40mm厚C20细石砼，30厚1：2干硬性水泥砂浆\n3、面层材料品种、规格、颜色：10mm厚400*400防滑地砖\n4、部位：一层卫生间、厨房、餐厅",null,"m2","67.83"]
[]
[]
["44","011102001001","石材楼地面","1、找平层厚度、砂浆配合比：150mm厚碎石垫层，60mm厚C15砼\n2、结合层厚度、砂浆配合比：40mm厚C20细石砼，30厚1：2干硬性水泥砂浆\n3、面层材料品种、规格、颜色：20mm厚毛面石材\n4、部位：一层楼梯间、门厅、走廊",null,"m2","94.58"]
{"$rows_empty":10}
["本页小计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",{"$nulls":3},"标段：",{"$nulls":5},"第6页 共10页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["45","011102003002","块料楼地面","1、找平层厚度、砂浆配合比：150mm厚碎石垫层，60mm厚C15砼\n2、结合层厚度、砂浆配合比：40mm厚C20细石砼，30厚1：2干硬性水泥砂浆\n3、面层材料品种、规格、颜色：10mm厚800*800防滑地砖\n4、部位：一层宿舍",null,"m2","70.86"]
[]
["46","011102003003","块料楼地面","1、找平层厚度、砂浆配合比：20mm厚1：3水泥砂浆找平层，30厚C20细石混凝土\n2、结合层厚度、砂浆配合比：5厚1:1水泥细砂浆结合层\n3、面层材料品种、规格、颜色：10厚400*400防滑地面砖,干水泥擦缝\n4、部位：卫生间楼面",null,"m2","29.38"]
[]
[]
["47","011102001002","石材楼地面","1、结合层厚度、砂浆配合比：30厚1：2干硬性水泥砂浆\n2、面层材料品种、规格、颜色：20mm厚毛面石材\n3、部位：走廊、楼梯间楼面",null,"m2","115.3"]
[]
["48","011102003004","块料楼地面","1、结合层厚度、砂浆配合比：30厚1：2干硬性水泥砂浆\n2、面层材料品种、规格、颜色：10mm厚800*800防滑地砖\n3、部位：办公室楼面",null,"m2","250.78"]
[]
["49","011105002001","石材踢脚线","1、踢脚线高度：100mm\n2、粘贴层厚度、材料种类：20厚1:2水泥砂浆灌缝 \n3、面层材料品种、规格、颜色：20mm厚毛面石材\n4、部位：楼梯间、走廊",null,"m","193.7"]
[]
[]
["本页小计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",{"$nulls":3},"标段：",{"$nulls":5},"第7页 共10页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["50","011105003001","块料踢脚线","1、踢脚线高度：100mm\n2、粘贴层厚度、材料种类：12厚1:3水泥砂浆打底 ，5厚1:1水泥细石结合层\n3、面层材料品种、规格、颜色：防滑地砖\n4、部位：其他房间",null,"m","331.14"]
[]
["51","011106001001","石材楼梯面层","1、粘结层厚度、材料种类：30厚1:3干硬性水泥砂浆结合层\n2、面层材料品种、规格、颜色：20mm厚毛面石材",null,"m2","38.22"]
["52","011107001001","石材台阶面","1、粘结材料种类：30厚1:3干硬性水泥砂浆结合层\n2、面层材料品种、规格、颜色：20mm厚毛面石材",null,"m2","5.13"]
[null,null,"分部小计",{"$nulls":3},""]
[null,null,"0112 墙、柱面装饰与隔断、幕墙工程",{"$nulls":3},""]
["53","011204003001","块料墙面","1、墙体类型：卫生间内墙\n2、面层材料品种、规格、颜色：刷界面处理剂一道，抗裂防渗砂浆(厚8mm),锚固热镀锌电焊钢丝网一层，12厚1:3水泥砂浆打底，6厚1:2.5水泥砂浆粉面，2~3厚建筑陶瓷胶粘剂，300*450白色瓷砖",null,"m2","215.11"]
[]
[]
["54","011201001001","墙面一般抹灰","1、墙体类型：其他内墙\n2、面层厚度、砂浆配合比：刷界面处理剂一道，12厚1:1:6水泥石膏砂浆打底，5厚1:0.3:3水泥石灰膏砂浆粉面",null,"m2","1776.21"]
[]
["55","011203001001","零星项目一般抹灰","1、面层厚度、砂浆配合比：25厚1:2水泥砂浆掺入3~5%防水剂\n2、部位：雨蓬",null,"m2","14.64"]
[]
["本页小计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",{"$nulls":3},"标段：",{"$nulls":5},"第8页 共10页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["56","011203001002","零星项目一般抹灰","1、底层厚度、砂浆配合比：界面剂\n2、面层厚度、砂浆配合比：水泥砂浆\n3、部位：挑檐",null,"m2","150.39"]
[null,null,"分部小计",{"$nulls":3},""]
[null,null,"0113 天棚工程",{"$nulls":3},""]
["57","011302001001","吊顶天棚","1、吊顶形式、吊杆规格、高度：8钢筋吊杆,双向吊点,中距900~1200\n2、龙骨材料种类、规格、中距：轻钢龙骨\n3、面层材料品种、规格、：9厚纸面石膏板自攻螺钉拧牢(900x3000x9)\n4、部位：二三层走廊、办公室等",null,"m2","539.06"]
[]
[]
["58","011302001002","吊顶天棚","1、吊顶形式、吊杆规格、高度：8钢筋吊杆,双向吊点,中距900~1200\n2、龙骨材料种类、规格、中距：铝合金龙骨\n3、面层材料品种、规格、：1厚铝合金方板面层\n4、部位：卫生间",null,"m2","44.07"]
[]
[null,null,"分部小计",{"$nulls":3},""]
[null,null,"0114 油漆、涂料、裱糊工程",{"$nulls":3},""]
["59","011406001001","抹灰面油漆","1、基层类型：内墙乳胶漆\n2、腻子种类：两遍白水泥腻子\n3、油漆品种、刷漆遍数：内墙乳胶漆两遍\n4、部位：其他房间",null,"m2","1776.21"]
[]
["60","011406001002","抹灰面油漆","1、腻子种类：两遍白水泥腻子\n2、油漆品种、刷漆遍数：内墙乳胶漆两遍\n3、部位：天棚乳胶漆",null,"m2","662.44"]
[]
["61","011407001001","墙面喷刷涂料","1、基层类型：外墙\n2、涂料品种、喷刷遍数：真石漆",null,"m2","821.06"]
[null,null,"分部小计",{"$nulls":3},""]
["本页小计"]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",{"$nulls":3},"标段：",{"$nulls":5},"第9页 共10页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
[null,null,"0115 其他装饰工程",{"$nulls":3},""]
["62","011503001002","金属扶手、栏杆、栏板","1、扶手材料种类、规格：1100mm高楼梯栏杆",null,"m","15.43"]
[null,null,"分部小计",{"$nulls":3},""]
[null,null,"分部分项合计",{"$nulls":3},""]
["1","011701001001","综合脚手架",null,null,"m2","779.4"]
["2","011703001001","垂直运输",null,null,"天","120"]
["3","011705001001","大型机械设备进出场及安拆",null,null,"项","1"]
["4","011702001001","基础","1、混凝土种类：商品砼\n2、混凝土强度等级：C15",null,"m2","19.96"]
["5","011702001002","基础","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、备注：无梁式",null,"m2","122.08"]
["6","011702003001","构造柱","1、混凝土种类：商品砼\n2、混凝土强度等级：C25",null,"m2","364.41"]
["7","011702005001","基础梁","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、备注：有底模",null,"m2","3.48"]
["8","011702006001","矩形梁","1、混凝土种类：商品砼\n2、混凝土强度等级：C25",null,"m2","1.74"]
["9","011702008001","圈梁","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、名称：地圈梁",null,"m2","366.94"]
["10","011702009001","过梁","1、混凝土种类：商品砼\n2、混凝土强度等级：C25",null,"m2","49.2"]
["11","011702016001","平板","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、板厚：100mm\n4、层高：3.6m内",null,"m2","525.09"]
[]
[]
["本页小计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",{"$nulls":3},"标段：",{"$nulls":5},"第10页 共10页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["12","011702016002","平板","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、板厚：120mm\n4、层高：3.6m内\n5、备注：斜板",null,"m2","238.79"]
[]
["13","011702023001","雨篷、悬挑板、阳台板","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、名称：板式雨篷",null,"m2","8.55"]
["14","011702022001","天沟、檐沟","1、混凝土种类：商品砼\n2、混凝土强度等级：C25\n3、名称：雨蓬侧板",null,"m2","392.75"]
["15","011702024001","楼梯","1、混凝土种类：商品砼\n2、混凝土强度等级：C25",null,"m2","30.23"]
["16","011702027001","台阶","1、图集做法：12J003-5A/B2",null,"m2","3.42"]
[null,null,"单价措施合计",{"$nulls":3},""]
{"$rows_empty":19}
["本页小计"]
["合    计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]

{"sheet":"3.3 13-Csxm1_zb-表-11 总价措施项目清单与计","index":2,"n_rows":50,"n_cols":13,"rows_kept":50,"merged":[[0,0,0,13],[1,0,1,5],[1,6,1,10],[1,11,1,13],[2,2,2,3],[2,5,2,6],[2,7,2,8],[2,10,2,11],[2,12,2,13],[3,2,3,3],[3,5,3,6],[3,7,3,8],[3,10,3,11],[3,12,3,13],[4,2,4,3],[4,5,4,6],[4,7,4,8],[4,10,4,11],[4,12,4,13],[5,2,5,3],[5,5,5,6],[5,7,5,8],[5,10,5,11],[5,12,5,13],[6,2,6,3],[6,5,6,6],[6,7,6,8],[6,10,6,11],[6,12,6,13],[7,2,7,3],[7,5,7,6],[7,7,7,8],[7,10,7,11],[7,12,7,13],[8,2,8,3],[8,5,8,6],[8,7,8,8],[8,10,8,11],[8,12,8,13],[9,2,9,3],[9,5,9,6],[9,7,9,8],[9,10,9,11],[9,12,9,13],[10,2,10,3],[10,5,10,6],[10,7,10,8],[10,10,10,11],[10,12,10,13],[11,2,11,3],[11,5,11,6],[11,7,11,8],[11,10,11,11],[11,12,11,13],[12,2,12,3],[12,5,12,6],[12,7,12,8],[12,10,12,11],[12,12,12,13],[13,2,13,3],[13,5,13,6],[13,7,13,8],[13,10,13,11],[13,12,13,13],[14,2,14,3],[14,5,14,6],[14,7,14,8],[14,10,14,11],[14,12,14,13],[15,0,15,13],[16,8,16,13],[17,0,17,2],[17,8,17,12],[18,0,18,13],[19,0,19,5],[19,6,19,10],[19,11,19,13],[20,2,20,3],[20,5,20,6],[20,7,20,8],[20,10,20,11],[20,12,20,13],[21,2,21,3],[21,5,21,6],[21,7,21,8],[21,10,21,11],[21,12,21,13],[22,2,22,3],[22,5,22,6],[22,7,22,8],[22,10,22,11],[22,12,22,13],[23,2,23,3],[23,5,23,6],[23,7,23,8],[23,10,23,11],[23,12,23,13],[24,2,24,3],[24,5,24,6],[24,7,24,8],[24,10,24,11],[24,12,24,13],[25,2,25,3],[25,5,25,6],[25,7,25,8],[25,10,25,11],[25,12,25,13],[26,2,26,3],[26,5,26,6],[26,7,26,8],[26,10,26,11],[26,12,26,13],[27,2,27,3],[27,5,27,6],[27,7,27,8],[27,10,27,11],[27,12,27,13],[28,2,28,3],[28,5,28,6],[28,7,28,8],[28,10,28,11],[28,12,28,13],[29,2,29,3],[29,5,29,6],[29,7,29,8],[29,10,29,11],[29,12,29,13],[30,2,30,3],[30,5,30,6],[30,7,30,8],[30,10,30,11],[30,12,30,13],[31,2,31,3],[31,5,31,6],[31,7,31,8],[31,10,31,11],[31,12,31,13],[32,2,32,3],[32,5,32,6],[32,7,32,8],[32,10,32,11],[32,12,32,13],[33,2,33,3],[33,5,33,6],[33,7,33,8],[33,10,33,11],[33,12,33,13],[34,2,34,3],[34,5,34,6],[34,7,34,8],[34,10,34,11],[34,12,34,13],[35,2,35,3],[35,5,35,6],[35,7,35,8],[35,10,35,11],[35,12,35,13],[36,2,36,3],[36,5,36,6],[36,7,36,8],[36,10,36,11],[36,12,36,13],[37,2,37,3],[37,5,37,6],[37,7,37,8],[37,10,37,11],[37,12,37,13],[38,2,38,3],[38,5,38,6],[38,7,38,8],[38,10,38,11],[38,12,38,13],[39,2,39,3],[39,5,39,6],[39,7,39,8],[39,10,39,11],[39,12,39,13],[40,2,40,3],[40,5,40,6],[40,7,40,8],[40,10,40,11],[40,12,40,13],[41,2,41,3],[41,5,41,6],[41,7,41,8],[41,10,41,11],[41,12,41,13],[42,2,42,3],[42,5,42,6],[42,7,42,8],[42,10,42,11],[42,12,42,13],[43,2,43,3],[43,5,43,6],[43,7,43,8],[43,10,43,11],[43,12,43,13],[44,2,44,3],[44,5,44,6],[44,7,44,8],[44,10,44,11],[44,12,44,13],[45,2,45,3],[45,5,45,6],[45,7,45,8],[45,10,45,11],[45,12,45,13],[46,2,46,3],[46,5,46,6],[46,7,46,8],[46,10,46,11],[46,12,46,13],[47,0,47,13],[48,8,48,13],[49,0,49,2],[49,8,49,12]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",{"$nulls":5},"标段：",{"$nulls":4},"第1页 共2页"]
["序号","项目编码","项目名称",null,"计算基础","费率（%）",null,"金额（元）",null,"调整费率（%）","调整后金额（元）",null,"备注"]
["1","011707001001","安全文明施工费",null,null,""]
["1.1",null,"基本费",null,"分部分项合计+单价措施项目合计-除税工程设备费","3.100"]
["1.2",null,"增加费",null,"分部分项合计+单价措施项目合计-除税工程设备费","0.700"]
["1.3",null,"扬尘污染防治增加费",null,"分部分项合计+单价措施项目合计-除税工程设备费","0.310"]
["2","011707002001","夜间施工",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["3","011707003001","非夜间施工照明",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["4","011707004001","二次搬运",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["5","011707005001","冬雨季施工",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["6","011707006001","地上、地下设施、建筑物的临时保护设施",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["7","011707007001","已完工程及设备保护",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["8","011707008001","临时设施",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
[]
[]
[{"$nulls":8},"【新点2013清单造价江苏版 V10.3.2】"]
["编制人（造价人员）：",{"$nulls":7},"复核人（造价工程师）："]
["总价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",{"$nulls":5},"标段：",{"$nulls":4},"第2页 共2页"]
["序号","项目编码","项目名称",null,"计算基础","费率（%）",null,"金额（元）",null,"调整费率（%）","调整后金额（元）",null,"备注"]
["9","011707009001","赶工措施",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["10","011707010001","工程按质论价",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["11","011707011001","住宅分户验收",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["12","011707012001","特殊条件下施工增加费",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
{"$rows_empty":23}
[{"$nulls":8},"【新点2013清单造价江苏版 V10.3.2】"]
["编制人（造价人员）：",{"$nulls":7},"复核人（造价工程师）："]

{"sheet":"3.1 13-Gfsj_zb-表-13 规费、税金项目计价表","index":3,"n_rows":38,"n_cols":10,"rows_kept":38,"merged":[[0,0,0,10],[1,0,1,3],[1,4,1,7],[1,8,1,10],[2,2,2,5],[2,7,2,8],[2,9,2,10],[3,2,3,5],[3,7,3,8],[3,9,3,10],[4,2,4,5],[4,7,4,8],[4,9,4,10],[5,2,5,5],[5,7,5,8],[5,9,5,10],[6,2,6,5],[6,7,6,8],[6,9,6,10],[7,2,7,5],[7,7,7,8],[7,9,7,10],[8,2,8,5],[8,7,8,8],[8,9,8,10],[9,2,9,5],[9,7,9,8],[9,9,9,10],[10,2,10,5],[10,7,10,8],[10,9,10,10],[11,2,11,5],[11,7,11,8],[11,9,11,10],[12,2,12,5],[12,7,12,8],[12,9,12,10],[13,2,13,5],[13,7,13,8],[13,9,13,10],[14,2,14,5],[14,7,14,8],[14,9,14,10],[15,2,15,5],[15,7,15,8],[15,9,15,10],[16,2,16,5],[16,7,16,8],[16,9,16,10],[17,2,17,5],[17,7,17,8],[17,9,17,10],[18,2,18,5],[18,7,18,8],[18,9,18,10],[19,2,19,5],[19,7,19,8],[19,9,19,10],[20,2,20,5],[20,7,20,8],[20,9,20,10],[21,2,21,5],[21,7,21,8],[21,9,21,10],[22,2,22,5],[22,7,22,8],[22,9,22,10],[23,2,23,5],[23,7,23,8],[23,9,23,10],[24,2,24,5],[24,7,24,8],[24,9,24,10],[25,2,25,5],[25,7,25,8],[25,9,25,10],[26,2,26,5],[26,7,26,8],[26,9,26,10],[27,2,27,5],[27,7,27,8],[27,9,27,10],[28,2,28,5],[28,7,28,8],[28,9,28,10],[29,2,29,5],[29,7,29,8],[29,9,29,10],[30,2,30,5],[30,7,30,8],[30,9,30,10],[31,2,31,5],[31,7,31,8],[31,9,31,10],[32,2,32,5],[32,7,32,8],[32,9,32,10],[34,0,34,8],[34,9,34,10],[36,5,36,10],[37,0,37,2],[37,5,37,9]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",{"$nulls":3},"标段：",{"$nulls":3},"第1页 共1页"]
["序号","项目名称","计算基础",{"$nulls":3},"计算基数(元)","计算费率(％)",null,"金额(元)"]
["1","规费","环境保护税+社会保险费+住房公积金",{"$nulls":4},"100.000"]
["1.1","社会保险费","分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"3.200"]
["1.2","住房公积金","分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"0.530"]
["1.3","环境保护税","分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},""]
["2","税金","分部分项工程费+措施项目费+其他项目费+规费-除税甲供材料和甲供设备费/1.01",{"$nulls":4},"9.000"]
{"$rows_empty":26}
["合  计"]
[]
[{"$nulls":5},"【新点2013清单造价江苏版 V10.3.2】"]
["编制人（造价人员）：",{"$nulls":4},"复核人（造价工程师）："]

{"sheet":"3.4 13-Qtxm_zb-表-12 其他项目清单与计价汇总","index":4,"n_rows":41,"n_cols":8,"rows_kept":41,"merged":[[0,0,0,7],[1,0,1,2],[1,3,1,6],[2,2,2,3],[2,4,2,5],[2,6,2,7],[3,2,3,3],[3,4,3,5],[3,6,3,7],[4,2,4,3],[4,4,4,5],[4,6,4,7],[5,2,5,3],[5,4,5,5],[5,6,5,7],[6,2,6,3],[6,4,6,5],[6,6,6,7],[7,2,7,3],[7,4,7,5],[7,6,7,7],[8,2,8,3],[8,4,8,5],[8,6,8,7],[9,2,9,3],[9,4,9,5],[9,6,9,7],[10,2,10,3],[10,4,10,5],[10,6,10,7],[11,2,11,3],[11,4,11,5],[11,6,11,7],[12,2,12,3],[12,4,12,5],[12,6,12,7],[13,2,13,3],[13,4,13,5],[13,6,13,7],[14,2,14,3],[14,4,14,5],[14,6,14,7],[15,2,15,3],[15,4,15,5],[15,6,15,7],[16,2,16,3],[16,4,16,5],[16,6,16,7],[17,2,17,3],[17,4,17,5],[17,6,17,7],[18,2,18,3],[18,4,18,5],[18,6,18,7],[19,2,19,3],[19,4,19,5],[19,6,19,7],[20,2,20,3],[20,4,20,5],[20,6,20,7],[21,2,21,3],[21,4,21,5],[21,6,21,7],[22,2,22,3],[22,4,22,5],[22,6,22,7],[23,2,23,3],[23,4,23,5],[23,6,23,7],[24,2,24,3],[24,4,24,5],[24,6,24,7],[25,2,25,3],[25,4,25,5],[25,6,25,7],[26,2,26,3],[26,4,26,5],[26,6,26,7],[27,2,27,3],[27,4,27,5],[27,6,27,7],[28,2,28,3],[28,4,28,5],[28,6,28,7],[29,2,29,3],[29,4,29,5],[29,6,29,7],[30,2,30,3],[30,4,30,5],[30,6,30,7],[31,2,31,3],[31,4,31,5],[31,6,31,7],[32,2,32,3],[32,4,32,5],[32,6,32,7],[33,2,33,3],[33,4,33,5],[33,6,33,7],[34,2,34,3],[34,4,34,5],[34,6,34,7],[35,2,35,3],[35,4,35,5],[35,6,35,7],[36,2,36,3],[36,4,36,5],[36,6,36,7],[37,2,37,3],[37,4,37,5],[37,6,37,7],[38,0,38,1],[38,2,38,3],[38,4,38,5],[38,6,38,7],[40,5,40,7]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",null,null,"标段：",{"$nulls":3},"第1页 共1页"]
["序号","项目名称","金额(元)",null,"结算金额(元)",null,"备注"]
["1","暂列金额",""]
["2","暂估价","305200.00"]
["2.1","材料暂估价",""]
["2.2","专业工程暂估价","305200.00"]
["3","计日工",""]
["4","总承包服务费",""]
{"$rows_empty":29}
["合  计",null,"305200.00"]
[]
[{"$nulls":5},"【新点2013清单造价江苏版 V10.3.2】"]

{"sheet":"3.5 13-Zygczg_zb-表-12-3 专业工程暂估价","index":5,"n_rows":41,"n_cols":10,"rows_kept":41,"merged":[[0,0,0,9],[1,0,1,3],[1,4,1,7],[1,8,1,9],[2,3,2,4],[2,5,2,6],[2,7,2,8],[3,3,3,4],[3,5,3,6],[3,7,3,8],[4,3,4,4],[4,5,4,6],[4,7,4,8],[5,3,5,4],[5,5,5,6],[5,7,5,8],[6,3,6,4],[6,5,6,6],[6,7,6,8],[7,3,7,4],[7,5,7,6],[7,7,7,8],[8,3,8,4],[8,5,8,6],[8,7,8,8],[9,3,9,4],[9,5,9,6],[9,7,9,8],[10,3,10,4],[10,5,10,6],[10,7,10,8],[11,3,11,4],[11,5,11,6],[11,7,11,8],[12,3,12,4],[12,5,12,6],[12,7,12,8],[13,3,13,4],[13,5,13,6],[13,7,13,8],[14,3,14,4],[14,5,14,6],[14,7,14,8],[15,3,15,4],[15,5,15,6],[15,7,15,8],[16,3,16,4],[16,5,16,6],[16,7,16,8],[17,3,17,4],[17,5,17,6],[17,7,17,8],[18,3,18,4],[18,5,18,6],[18,7,18,8],[19,3,19,4],[19,5,19,6],[19,7,19,8],[20,3,20,4],[20,5,20,6],[20,7,20,8],[21,3,21,4],[21,5,21,6],[21,7,21,8],[22,3,22,4],[22,5,22,6],[22,7,22,8],[23,3,23,4],[23,5,23,6],[23,7,23,8],[24,3,24,4],[24,5,24,6],[24,7,24,8],[25,3,25,4],[25,5,25,6],[25,7,25,8],[26,3,26,4],[26,5,26,6],[26,7,26,8],[27,3,27,4],[27,5,27,6],[27,7,27,8],[28,3,28,4],[28,5,28,6],[28,7,28,8],[29,3,29,4],[29,5,29,6],[29,7,29,8],[30,3,30,4],[30,5,30,6],[30,7,30,8],[31,3,31,4],[31,5,31,6],[31,7,31,8],[32,3,32,4],[32,5,32,6],[32,7,32,8],[33,3,33,4],[33,5,33,6],[33,7,33,8],[34,3,34,4],[34,5,34,6],[34,7,34,8],[35,3,35,4],[35,5,35,6],[35,7,35,8],[36,3,36,4],[36,5,36,6],[36,7,36,8],[37,3,37,4],[37,5,37,6],[37,7,37,8],[38,0,38,2],[38,3,38,4],[38,5,38,6],[38,7,38,8],[40,6,40,9]],"flags":["formulas_cached_only"]}
["专业工程暂估价及结算价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--土建",{"$nulls":3},"标段：",{"$nulls":3},"第1页 共1页"]
["序号","工程名称","工程内容","暂估金额(元)",null,"结算金额(元)",null,"差额±(元)",null,"备注"]
["1","室外钢楼梯","室外钢楼梯","55200.00"]
["2","室外配套工程","室外配套工程","150000.00"]
["3","绿化工程","绿化工程","100000.00"]
{"$rows_empty":32}
["合  计",null,null,"305200.00"]
[]
[{"$nulls":6},"【新点2013清单造价江苏版 V10.3.2】"]

{"sheet":"4.2 13-Qdxm_zb-表-08 分部分项工程和单价措施","index":6,"n_rows":165,"n_cols":12,"rows_kept":165,"merged":[[0,0,0,11],[1,0,1,3],[1,4,1,9],[1,10,1,11],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,4],[2,5,4,5],[2,6,4,7],[2,8,2,11],[3,8,4,8],[3,9,4,10],[5,2,5,4],[5,6,5,7],[5,9,5,10],[6,3,6,4],[6,6,6,7],[6,9,6,10],[7,3,7,4],[7,6,7,7],[7,9,7,10],[8,3,8,4],[8,6,8,7],[8,9,8,10],[9,3,9,4],[9,6,9,7],[9,9,9,10],[10,3,10,4],[10,6,10,7],[10,9,10,10],[11,3,11,4],[11,6,11,7],[11,9,11,10],[12,3,12,4],[12,6,12,7],[12,9,12,10],[13,3,13,4],[13,6,13,7],[13,9,13,10],[14,3,14,4],[14,6,14,7],[14,9,14,10],[15,3,15,4],[15,6,15,7],[15,9,15,10],[16,3,16,4],[16,6,16,7],[16,9,16,10],[17,3,17,4],[17,6,17,7],[17,9,17,10],[18,3,18,4],[18,6,18,7],[18,9,18,10],[19,3,19,4],[19,6,19,7],[19,9,19,10],[20,3,20,4],[20,6,20,7],[20,9,20,10],[21,0,21,8],[21,9,21,10],[23,7,23,11],[24,0,24,11],[25,0,25,3],[25,4,25,9],[25,10,25,11],[26,0,28,0],[26,1,28,1],[26,2,28,2],[26,3,28,4],[26,5,28,5],[26,6,28,7],[26,8,26,11],[27,8,28,8],[27,9,28,10],[29,3,29,4],[29,6,29,7],[29,9,29,10],[30,3,30,4],[30,6,30,7],[30,9,30,10],[31,3,31,4],[31,6,31,7],[31,9,31,10],[32,3,32,4],[32,6,32,7],[32,9,32,10],[33,3,33,4],[33,6,33,7],[33,9,33,10],[34,3,34,4],[34,6,34,7],[34,9,34,10],[35,3,35,4],[35,6,35,7],[35,9,35,10],[36,3,36,4],[36,6,36,7],[36,9,36,10],[37,3,37,4],[37,6,37,7],[37,9,37,10],[38,3,38,4],[38,6,38,7],[38,9,38,10],[39,3,39,4],[39,6,39,7],[39,9,39,10],[40,3,40,4],[40,6,40,7],[40,9,40,10],[41,3,41,4],[41,6,41,7],[41,9,41,10],[42,3,42,4],[42,6,42,7],[42,9,42,10],[43,3,43,4],[43,6,43,7],[43,9,43,10],[44,2,44,4],[44,6,44,7],[44,9,44,10],[45,2,45,4],[45,6,45,7],[45,9,45,10],[46,3,46,4],[46,6,46,7],[46,9,46,10],[47,3,47,4],[47,6,47,7],[47,9,47,10],[48,3,48,4],[48,6,48,7],[48,9,48,10],[49,3,49,4],[49,6,49,7],[49,9,49,10],[50,3,50,4],[50,6,50,7],[50,9,50,10],[51,3,51,4],[51,6,51,7],[51,9,51,10],[52,0,52,8],[52,9,52,10],[54,7,54,11],[55,0,55,11],[56,0,56,3],[56,4,56,9],[56,10,56,11],[57,0,59,0],[57,1,59,1],[57,2,59,2],[57,3,59,4],[57,5,59,5],[57,6,59,7],[57,8,57,11],[58,8,59,8],[58,9,59,10],[60,3,60,4],[60,6,60,7],[60,9,60,10],[61,3,61,4],[61,6,61,7],[61,9,61,10],[62,3,62,4],[62,6,62,7],[62,9,62,10],[63,3,63,4],[63,6,63,7],[63,9,63,10],[64,2,64,4],[64,6,64,7],[64,9,64,10],[65,2,65,4],[65,6,65,7],[65,9,65,10],[66,3,66,4],[66,6,66,7],[66,9,66,10],[67,3,67,4],[67,6,67,7],[67,9,67,10],[68,3,68,4],[68,6,68,7],[68,9,68,10],[69,3,69,4],[69,6,69,7],[69,9,69,10],[70,3,70,4],[70,6,70,7],[70,9,70,10],[71,3,71,4],[71,6,71,7],[71,9,71,10],[72,3,72,4],[72,6,72,7],[72,9,72,10],[73,3,73,4],[73,6,73,7],[73,9,73,10],[74,0,75,0],[74,1,75,1],[74,2,75,2],[74,3,75,4],[74,5,75,5],[74,6,75,7],[74,8,75,8],[74,9,75,10],[74,11,75,11],[76,0,77,0],[76,1,77,1],[76,2,77,2],[76,3,77,4],[76,5,77,5],[76,6,77,7],[76,8,77,8],[76,9,77,10],[76,11,77,11],[78,0,78,8],[78,9,78,10],[80,7,80,11],[81,0,81,11],[82,0,82,3],[82,4,82,9],[82,10,82,11],[83,0,85,0],[83,1,85,1],[83,2,85,2],[83,3,85,4],[83,5,85,5],[83,6,85,7],[83,8,83,11],[84,8,85,8],[84,9,85,10],[86,0,87,0],[86,1,87,1],[86,2,87,2],[86,3,87,4],[86,5,87,5],[86,6,87,7],[86,8,87,8],[86,9,87,10],[86,11,87,11],[88,0,89,0],[88,1,89,1],[88,2,89,2],[88,3,89,4],[88,5,89,5],[88,6,89,7],[88,8,89,8],[88,9,89,10],[88,11,89,11],[90,0,91,0],[90,1,91,1],[90,2,91,2],[90,3,91,4],[90,5,91,5],[90,6,91,7],[90,8,91,8],[90,9,91,10],[90,11,91,11],[92,0,93,0],[92,1,93,1],[92,2,93,2],[92,3,93,4],[92,5,93,5],[92,6,93,7],[92,8,93,8],[92,9,93,10],[92,11,93,11],[94,0,95,0],[94,1,95,1],[94,2,95,2],[94,3,95,4],[94,5,95,5],[94,6,95,7],[94,8,95,8],[94,9,95,10],[94,11,95,11],[96,3,96,4],[96,6,96,7],[96,9,96,10],[97,3,97,4],[97,6,97,7],[97,9,97,10],[98,3,98,4],[98,6,98,7],[98,9,98,10],[99,0,99,8],[99,9,99,10],[101,7,101,11],[102,0,102,11],[103,0,103,3],[103,4,103,9],[103,10,103,11],[104,0,106,0],[104,1,106,1],[104,2,106,2],[104,3,106,4],[104,5,106,5],[104,6,106,7],[104,8,104,11],[105,8,106,8],[105,9,106,10],[107,3,107,4],[107,6,107,7],[107,9,107,10],[108,3,108,4],[108,6,108,7],[108,9,108,10],[109,3,109,4],[109,6,109,7],[109,9,109,10],[110,3,110,4],[110,6,110,7],[110,9,110,10],[111,3,111,4],[111,6,111,7],[111,9,111,10],[112,3,112,4],[112,6,112,7],[112,9,112,10],[113,3,113,4],[113,6,113,7],[113,9,113,10],[114,3,114,4],[114,6,114,7],[114,9,114,10],[115,3,115,4],[115,6,115,7],[115,9,115,10],[116,3,116,4],[116,6,116,7],[116,9,116,10],[117,3,117,4],[117,6,117,7],[117,9,117,10],[118,3,118,4],[118,6,118,7],[118,9,118,10],[119,3,119,4],[119,6,119,7],[119,9,119,10],[120,3,120,4],[120,6,120,7],[120,9,120,10],[121,3,121,4],[121,6,121,7],[121,9,121,10],[122,0,122,8],[122,9,122,10],[124,7,124,11],[125,0,125,11],[126,0,126,3],[126,4,126,9],[126,10,126,11],[127,0,129,0],[127,1,129,1],[127,2,129,2],[127,3,129,4],[127,5,129,5],[127,6,129,7],[127,8,127,11],[128,8,129,8],[128,9,129,10],[130,3,130,4],[130,6,130,7],[130,9,130,10],[131,3,131,4],[131,6,131,7],[131,9,131,10],[132,2,132,4],[132,6,132,7],[132,9,132,10],[133,2,133,4],[133,6,133,7],[133,9,133,10],[134,3,134,4],[134,6,134,7],[134,9,134,10],[135,2,135,4],[135,6,135,7],[135,9,135,10],[136,3,136,4],[136,6,136,7],[136,9,136,10],[137,3,137,4],[137,6,137,7],[137,9,137,10],[138,3,138,4],[138,6,138,7],[138,9,138,10],[139,3,139,4],[139,6,139,7],[139,9,139,10],[140,3,140,4],[140,6,140,7],[140,9,140,10],[141,3,141,4],[141,6,141,7],[141,9,141,10],[142,3,142,4],[142,6,142,7],[142,9,142,10],[143,3,143,4],[143,6,143,7],[143,9,143,10],[144,3,144,4],[144,6,144,7],[144,9,144,10],[145,3,145,4],[145,6,145,7],[145,9,145,10],[146,3,146,4],[146,6,146,7],[146,9,146,10],[147,3,147,4],[147,6,147,7],[147,9,147,10],[148,3,148,4],[148,6,148,7],[148,9,148,10],[149,3,149,4],[149,6,149,7],[149,9,149,10],[150,3,150,4],[150,6,150,7],[150,9,150,10],[151,3,151,4],[151,6,151,7],[151,9,151,10],[152,3,152,4],[152,6,152,7],[152,9,152,10],[153,3,153,4],[153,6,153,7],[153,9,153,10],[154,3,154,4],[154,6,154,7],[154,9,154,10],[155,3,155,4],[155,6,155,7],[155,9,155,10],[156,3,156,4],[156,6,156,7],[156,9,156,10],[157,3,157,4],[157,6,157,7],[157,9,157,10],[158,3,158,4],[158,6,158,7],[158,9,158,10],[159,3,159,4],[159,6,159,7],[159,9,159,10],[160,3,160,4],[160,6,160,7],[160,9,160,10],[161,0,161,8],[161,9,161,10],[162,0,162,8],[162,9,162,10],[164,7,164,11]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地管理用房--安装",{"$nulls":3},"标段：",{"$nulls":5},"第1页 共6页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
[null,null,"0304 电气设备安装工程",{"$nulls":3},""]
["1","030404017001","配电箱","1、名称：控制室照明箱1AL\n2、接线端子材质、规格：无端子外部接线2.5、4，压铜端子16",null,"台","1"]
["2","030404017019","配电箱","1、名称：控制室照明箱2AL\n2、接线端子材质、规格：无端子外部接线2.5、4，压铜端子10",null,"台","1"]
["3","030404017020","配电箱","1、名称：控制室照明箱3AL\n2、接线端子材质、规格：无端子外部接线2.5、4",null,"台","1"]
["4","030411001011","配管","1、名称：PC20\n2、配置形式：暗敷",null,"m","1111.13"]
["5","030411001021","配管","1、名称：PC40\n2、配置形式：暗敷",null,"m","6.81"]
["6","030411001001","配管","1、名称：SC65\n2、配置形式：暗敷",null,"m","8.6"]
["7","030411004038","配线","1、名称：BV-2.5mm2\n2、配线部位：管内",null,"m","1907.25"]
["8","030411004040","配线","1、名称：BV-4mm2\n2、配线部位：管内",null,"m","1489.14"]
["9","030411004041","配线","1、名称：BV-10mm2\n2、配线部位：管内",null,"m","16.17"]
["10","030411004042","配线","1、名称：BV-16mm2\n2、配线部位：管内",null,"m","6.36"]
["11","030412005005","荧光灯","1、名称：双管日光灯\n2、型号：2x36W \n3、安装形式：吸顶安装",null,"套","68"]
["12","030412001002","普通灯具","1、名称：吸顶灯\n2、型号：1x40W \n3、规格：吸顶安装",null,"套","20"]
["13","030412001004","普通灯具","1、名称：防尘防水灯\n2、型号：1x40W \n3、规格：吸顶安装",null,"套","24"]
["14","030412001003","普通灯具","1、名称：延时灯\n2、规格：吸顶安装",null,"套","12"]
["15","030412004006","装饰灯","1、名称：带蓄电池出口指示灯\n2、安装形式：门上方0.3米",null,"套","4"]
["本页小计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地管理用房--安装",{"$nulls":3},"标段：",{"$nulls":5},"第2页 共6页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["16","030404035001","插座","1、名称：空调插座(柜机)\n2、安装方式：距地0.3米",null,"个","12"]
["17","030404035012","插座","1、名称：双联二极三极插座\n2、安装方式：距地0.3米",null,"个","106"]
["18","030404034006","照明开关","1、名称：单控双联开关\n2、安装方式：底距地H=1.3m",null,"个","32"]
["19","030411006001","接线盒","1、名称：接线盒\n2、规格：86",null,"个","128"]
["20","030411006002","接线盒","1、名称：开关盒\n2、规格：86",null,"个","150"]
["21","030409004001","均压环","1、名称：均压环敷设 利用圈梁钢筋",null,"m","152.8"]
["22","030409003001","避雷引下线","1、名称：避雷引下线敷设",null,"m","65.4"]
["23","030409002001","接地母线","1、名称：接地母线\n2、规格：-40*4镀锌扁钢",null,"m","10"]
["24","030409005001","避雷网","1、名称：避雷网φ10镀锌圆钢",null,"m","92.13"]
["25","030409008003","等电位端子箱、测试板","1、名称：测试点",null,"个","4"]
["26","030411006003","接线盒","1、名称：接线盒",null,"个","4"]
["27","030411006004"," 面板盖板","1、名称： 面板盖板",null,"个","4"]
["28","030409008002","等电位端子箱、测试板","1、名称：分等电位联结端子箱",null,"个","3"]
["29","030409008001","等电位端子箱、测试板","1、名称：总等电位联结端子箱",null,"个","1"]
["30","040807003001","接地装置调试","1、名称：接地装置调试 接地网",null,"系统","1"]
[null,null,"分部小计",{"$nulls":3},""]
[null,null,"0305 弱电工程",{"$nulls":3},""]
["31","030411005001","接线箱","1、名称：电话.网络交换箱(450x600x180)",null,"个","2"]
["32","030411005002","接线箱","1、名称：交换箱200x200x90",null,"个","1"]
["33","030411001022","配管","1、名称：PC20\n2、配置形式：暗敷",null,"m","572"]
["34","030411001023","配管","1、名称：PC32\n2、配置形式：暗敷",null,"m","26.4"]
["35","030411001024","配管","1、名称：SC40\n2、配置形式：暗敷",null,"m","13.18"]
["36","030502004001","电视、电话插座","1、名称：电脑插座",null,"个","18"]
["本页小计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地管理用房--安装",{"$nulls":3},"标段：",{"$nulls":5},"第3页 共6页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["37","030502004002","电视、电话插座","1、名称：电话插座",null,"个","18"]
["38","030502005001","双绞线缆","1、名称：4UTP",null,"m","322"]
["39","030502005002","双绞线缆","1、名称：RVB(2×0.5mm2)",null,"m","322"]
["40","030411006005","接线盒","1、名称：开关盒\n2、规格：86",null,"个","36"]
[null,null,"分部小计",{"$nulls":3},""]
[null,null,"0310 给排水、采暖、燃气工程",{"$nulls":3},""]
["41","031001006002","塑料管","1、安装部位：室内\n2、材质、规格：PVC-U排水管DN50\n3、连接形式：承插胶接",null,"m","31.98"]
["42","031001006003","塑料管","1、安装部位：室内\n2、材质、规格：PVC-U排水管DN75\n3、连接形式：承插连接",null,"m","6.18"]
["43","031001006019","塑料管","1、安装部位：室内\n2、材质、规格：PVC-U排水管DN100\n3、连接形式：承插连接",null,"m","36.23"]
["44","031004014001","给、排水附（配）件","1、材质：地漏DN50",null,"个(组)","6"]
["45","031002003003","套管","1、名称、类型：钢套管DN150",null,"个","2"]
["46","031002003004","套管","1、名称、类型：刚性防水套管DN150",null,"个","1"]
["47","010101007003","管沟土方","1、土壤类别：二类土",null,"m3","3.47"]
["48","010103001003","回填方","1、密实度要求：夯填\n2、填方材料品种：二类土方",null,"m3","3.47"]
["49","031001006001","塑料管","1、安装部位：室内\n2、介质：冷水\n3、材质、规格：PPR DE20\n4、连接形式：热熔\n5、压力试验及吹、洗设计要求：消毒、冲洗",null,"m","15.06"]
[]
["50","031001006004","塑料管","1、安装部位：室内\n2、介质：冷水\n3、材质、规格：PPR DE25\n4、连接形式：热熔\n5、压力试验及吹、洗设计要求：消毒、冲洗",null,"m","6.17"]
[]
["本页小计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地管理用房--安装",{"$nulls":3},"标段：",{"$nulls":5},"第4页 共6页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["51","031001006005","塑料管","1、安装部位：室内\n2、介质：冷水\n3、材质、规格：PPR DE32\n4、连接形式：热熔\n5、压力试验及吹、洗设计要求：消毒、冲洗",null,"m","54.18"]
[]
["52","031001006014","塑料管","1、安装部位：室内\n2、介质：冷水\n3、材质、规格：PPR DE40\n4、连接形式：热熔\n5、压力试验及吹、洗设计要求：消毒、冲洗",null,"m","2.31"]
[]
["53","031001006006","塑料管","1、安装部位：室内\n2、介质：冷水\n3、材质、规格：PPR DE50\n4、连接形式：热熔\n5、压力试验及吹、洗设计要求：消毒、冲洗",null,"m","16.29"]
[]
["54","031001007001","复合管","1、安装部位：室内\n2、介质：冷水\n3、材质、规格：内衬塑钢塑复合管（冷水型）DN40\n4、连接形式：丝扣连接\n5、压力试验及吹、洗设计要求：消毒、冲洗",null,"m","3.3"]
[]
["55","031001007003","复合管","1、安装部位：室内\n2、介质：冷水\n3、材质、规格：内衬塑钢塑复合管（冷水型）DN50\n4、连接形式：丝扣连接\n5、压力试验及吹、洗设计要求：消毒、冲洗",null,"m","8.06"]
[]
["56","031003013005","水表","1、型号、规格：水表DN20",null,"组(个)","1"]
["57","031003013008","水表","1、型号、规格：水表DN50",null,"组(个)","1"]
["58","031003001013","螺纹阀门","1、类型：铜质截止阀DN50\n2、规格、压力等级：阀门工作压力为1.0MPa",null,"个","1"]
["本页小计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地管理用房--安装",{"$nulls":3},"标段：",{"$nulls":5},"第5页 共6页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["59","031003001017","螺纹阀门","1、类型：铜质截止阀DN40\n2、规格、压力等级：阀门工作压力为1.0MPa",null,"个","3"]
["60","031003001014","螺纹阀门","1、类型：铜质截止阀DN20\n2、规格、压力等级：阀门工作压力为1.0MPa",null,"个","1"]
["61","031003001018","螺纹阀门","1、类型：铜质截止阀DN15\n2、规格、压力等级：阀门工作压力为1.0MPa",null,"个","1"]
["62","031003001015","螺纹阀门","1、类型：止回阀DN50\n2、规格、压力等级：阀门工作压力为1.0MPa",null,"个","1"]
["63","031003001016","螺纹阀门","1、类型：止回阀DN20\n2、规格、压力等级：阀门工作压力为1.0MPa",null,"个","1"]
["64","031003001012","螺纹阀门","1、类型：自动排气阀DN15",null,"个","1"]
["65","031002003002","套管","1、名称、类型：钢套管DN65",null,"个","1"]
["66","031002003005","套管","1、名称、类型：钢套管DN80",null,"个","1"]
["67","031002001001","管道支架","1、材质：管道支架制作安装",null,"Kg","4.84"]
["68","010101007004","管沟土方","1、土壤类别：二类土",null,"m3","1"]
["69","010103001004","回填方","1、密实度要求：夯填\n2、填方材料品种：二类土方",null,"m3","1"]
["70","031004006002","大便器","1、材质：蹲便器\n2、附件名称、数量：脚踏阀",null,"组","9"]
["71","031004007001","小便器","1、材质：小便器\n2、附件名称、数量：角阀、软管",null,"组","6"]
["72","031004003003","洗脸盆","1、材质：洗脸盆\n2、组装形式：含角阀、软管、下水口",null,"组","6"]
["73","031004004003","洗涤盆","1、材质：拖把池\n2、附件名称、数量：含水龙头、角阀、软管及下水",null,"组","3"]
["本页小计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地管理用房--安装",{"$nulls":3},"标段：",{"$nulls":5},"第6页 共6页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["74","031004014002","给、排水附（配）件","1、材质：水龙头DN20",null,"个(组)","1"]
["75","030901013001","灭火器","1、形式：MF/ABC5(3A)\n2、规格、型号：包括灭火器箱",null,"具(组)","22"]
[null,null,"分部小计",{"$nulls":3},""]
[null,null,"分部分项合计",{"$nulls":3},""]
["1","031301017001","脚手架搭拆",null,null,"项","1"]
[null,null,"单价措施合计",{"$nulls":3},""]
{"$rows_empty":25}
["本页小计"]
["合    计"]
[]
[{"$nulls":7},"【新点2013清单造价江苏版 V10.3.2】"]

{"sheet":"4.3 13-Csxm1_zb-表-11 总价措施项目清单与计","index":7,"n_rows":50,"n_cols":13,"rows_kept":50,"merged":[[0,0,0,13],[1,0,1,5],[1,6,1,10],[1,11,1,13],[2,2,2,3],[2,5,2,6],[2,7,2,8],[2,10,2,11],[2,12,2,13],[3,2,3,3],[3,5,3,6],[3,7,3,8],[3,10,3,11],[3,12,3,13],[4,2,4,3],[4,5,4,6],[4,7,4,8],[4,10,4,11],[4,12,4,13],[5,2,5,3],[5,5,5,6],[5,7,5,8],[5,10,5,11],[5,12,5,13],[6,2,6,3],[6,5,6,6],[6,7,6,8],[6,10,6,11],[6,12,6,13],[7,2,7,3],[7,5,7,6],[7,7,7,8],[7,10,7,11],[7,12,7,13],[8,2,8,3],[8,5,8,6],[8,7,8,8],[8,10,8,11],[8,12,8,13],[9,2,9,3],[9,5,9,6],[9,7,9,8],[9,10,9,11],[9,12,9,13],[10,2,10,3],[10,5,10,6],[10,7,10,8],[10,10,10,11],[10,12,10,13],[11,2,11,3],[11,5,11,6],[11,7,11,8],[11,10,11,11],[11,12,11,13],[12,2,12,3],[12,5,12,6],[12,7,12,8],[12,10,12,11],[12,12,12,13],[13,2,13,3],[13,5,13,6],[13,7,13,8],[13,10,13,11],[13,12,13,13],[14,2,14,3],[14,5,14,6],[14,7,14,8],[14,10,14,11],[14,12,14,13],[15,0,15,13],[16,8,16,13],[17,0,17,2],[17,8,17,12],[18,0,18,13],[19,0,19,5],[19,6,19,10],[19,11,19,13],[20,2,20,3],[20,5,20,6],[20,7,20,8],[20,10,20,11],[20,12,20,13],[21,2,21,3],[21,5,21,6],[21,7,21,8],[21,10,21,11],[21,12,21,13],[22,2,22,3],[22,5,22,6],[22,7,22,8],[22,10,22,11],[22,12,22,13],[23,2,23,3],[23,5,23,6],[23,7,23,8],[23,10,23,11],[23,12,23,13],[24,2,24,3],[24,5,24,6],[24,7,24,8],[24,10,24,11],[24,12,24,13],[25,2,25,3],[25,5,25,6],[25,7,25,8],[25,10,25,11],[25,12,25,13],[26,2,26,3],[26,5,26,6],[26,7,26,8],[26,10,26,11],[26,12,26,13],[27,2,27,3],[27,5,27,6],[27,7,27,8],[27,10,27,11],[27,12,27,13],[28,2,28,3],[28,5,28,6],[28,7,28,8],[28,10,28,11],[28,12,28,13],[29,2,29,3],[29,5,29,6],[29,7,29,8],[29,10,29,11],[29,12,29,13],[30,2,30,3],[30,5,30,6],[30,7,30,8],[30,10,30,11],[30,12,30,13],[31,2,31,3],[31,5,31,6],[31,7,31,8],[31,10,31,11],[31,12,31,13],[32,2,32,3],[32,5,32,6],[32,7,32,8],[32,10,32,11],[32,12,32,13],[33,2,33,3],[33,5,33,6],[33,7,33,8],[33,10,33,11],[33,12,33,13],[34,2,34,3],[34,5,34,6],[34,7,34,8],[34,10,34,11],[34,12,34,13],[35,2,35,3],[35,5,35,6],[35,7,35,8],[35,10,35,11],[35,12,35,13],[36,2,36,3],[36,5,36,6],[36,7,36,8],[36,10,36,11],[36,12,36,13],[37,2,37,3],[37,5,37,6],[37,7,37,8],[37,10,37,11],[37,12,37,13],[38,2,38,3],[38,5,38,6],[38,7,38,8],[38,10,38,11],[38,12,38,13],[39,2,39,3],[39,5,39,6],[39,7,39,8],[39,10,39,11],[39,12,39,13],[40,2,40,3],[40,5,40,6],[40,7,40,8],[40,10,40,11],[40,12,40,13],[41,2,41,3],[41,5,41,6],[41,7,41,8],[41,10,41,11],[41,12,41,13],[42,2,42,3],[42,5,42,6],[42,7,42,8],[42,10,42,11],[42,12,42,13],[43,2,43,3],[43,5,43,6],[43,7,43,8],[43,10,43,11],[43,12,43,13],[44,2,44,3],[44,5,44,6],[44,7,44,8],[44,10,44,11],[44,12,44,13],[45,2,45,3],[45,5,45,6],[45,7,45,8],[45,10,45,11],[45,12,45,13],[46,2,46,3],[46,5,46,6],[46,7,46,8],[46,10,46,11],[46,12,46,13],[47,0,47,13],[48,8,48,13],[49,0,49,2],[49,8,49,12]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--安装",{"$nulls":5},"标段：",{"$nulls":4},"第1页 共2页"]
["序号","项目编码","项目名称",null,"计算基础","费率（%）",null,"金额（元）",null,"调整费率（%）","调整后金额（元）",null,"备注"]
["1","031302001001","安全文明施工费",null,null,""]
["1.1",null,"基本费",null,"分部分项合计+单价措施项目合计-除税工程设备费","1.500"]
["1.2",null,"增加费",null,"分部分项合计+单价措施项目合计-除税工程设备费","0.210"]
["1.3",null,"扬尘污染防治增加费",null,"分部分项合计+单价措施项目合计-除税工程设备费","0.210"]
["2","031302002001","夜间施工增加",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["3","031302003001","非夜间施工增加",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["4","031302004001","二次搬运",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["5","031302005001","冬雨季施工增加",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["6","031302006001","已完工程及设备保护",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["7","031302008001","临时设施",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["8","031302009001","赶工措施",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
[]
[]
[{"$nulls":8},"【新点2013清单造价江苏版 V10.3.2】"]
["编制人（造价人员）：",{"$nulls":7},"复核人（造价工程师）："]
["总价措施项目清单与计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--安装",{"$nulls":5},"标段：",{"$nulls":4},"第2页 共2页"]
["序号","项目编码","项目名称",null,"计算基础","费率（%）",null,"金额（元）",null,"调整费率（%）","调整后金额（元）",null,"备注"]
["9","031302010001","工程按质论价",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["10","031302011001","住宅分户验收",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["11","031302012001","地上、地下设施、建筑物的临时保护设施",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["12","031302013001","特殊条件下施工增加费",null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
{"$rows_empty":23}
[{"$nulls":8},"【新点2013清单造价江苏版 V10.3.2】"]
["编制人（造价人员）：",{"$nulls":7},"复核人（造价工程师）："]

{"sheet":"4.1 13-Gfsj_zb-表-13 规费、税金项目计价表","index":8,"n_rows":39,"n_cols":10,"rows_kept":39,"merged":[[0,0,0,10],[1,0,1,3],[1,4,1,7],[1,8,1,10],[2,2,2,5],[2,7,2,8],[2,9,2,10],[3,2,3,5],[3,7,3,8],[3,9,3,10],[4,2,4,5],[4,7,4,8],[4,9,4,10],[5,2,5,5],[5,7,5,8],[5,9,5,10],[6,2,6,5],[6,7,6,8],[6,9,6,10],[7,2,7,5],[7,7,7,8],[7,9,7,10],[8,2,8,5],[8,7,8,8],[8,9,8,10],[9,2,9,5],[9,7,9,8],[9,9,9,10],[10,2,10,5],[10,7,10,8],[10,9,10,10],[11,2,11,5],[11,7,11,8],[11,9,11,10],[12,2,12,5],[12,7,12,8],[12,9,12,10],[13,2,13,5],[13,7,13,8],[13,9,13,10],[14,2,14,5],[14,7,14,8],[14,9,14,10],[15,2,15,5],[15,7,15,8],[15,9,15,10],[16,2,16,5],[16,7,16,8],[16,9,16,10],[17,2,17,5],[17,7,17,8],[17,9,17,10],[18,2,18,5],[18,7,18,8],[18,9,18,10],[19,2,19,5],[19,7,19,8],[19,9,19,10],[20,2,20,5],[20,7,20,8],[20,9,20,10],[21,2,21,5],[21,7,21,8],[21,9,21,10],[22,2,22,5],[22,7,22,8],[22,9,22,10],[23,2,23,5],[23,7,23,8],[23,9,23,10],[24,2,24,5],[24,7,24,8],[24,9,24,10],[25,2,25,5],[25,7,25,8],[25,9,25,10],[26,2,26,5],[26,7,26,8],[26,9,26,10],[27,2,27,5],[27,7,27,8],[27,9,27,10],[28,2,28,5],[28,7,28,8],[28,9,28,10],[29,2,29,5],[29,7,29,8],[29,9,29,10],[30,2,30,5],[30,7,30,8],[30,9,30,10],[31,2,31,5],[31,7,31,8],[31,9,31,10],[32,2,32,5],[32,7,32,8],[32,9,32,10],[33,2,33,5],[33,7,33,8],[33,9,33,10],[35,0,35,8],[35,9,35,10],[37,5,37,10],[38,0,38,2],[38,5,38,9]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
["工程名称：邳州市水行政执法基地建设工程管理房工程--安装",{"$nulls":3},"标段：",{"$nulls":3},"第1页 共1页"]
["序号","项目名称","计算基础",{"$nulls":3},"计算基数(元)","计算费率(％)",null,"金额(元)"]
["1","规费","环境保护税+社会保险费+住房公积金",{"$nulls":4},"100.000"]
["1.1","社会保险费","分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"2.400"]
["1.2","住房公积金","分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"0.420"]
["1.3","环境保护税","分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},""]
["2","税金","分部分项工程费+措施项目费+其他项目费+规费-除税甲供材料和甲供设备费/1.01",{"$nulls":4},"9.000"]
{"$rows_empty":27}
["合  计"]
[]
[{"$nulls":5},"【新点2013清单造价江苏版 V10.3.2】"]
["编制人（造价人员）：",{"$nulls":4},"复核人（造价工程师）："]