{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["清单"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"清单","index":0,"n_rows":51,"n_cols":8,"rows_kept":51,"merged":[[0,0,0,7],[50,0,50,7]],"flags":["formulas_cached_only"]}
["丰县农村供水设施改造提升工程阀门采购01标段\n设备采购清单",null,"","","",null,"",""]
["序号","产品名称","特征描述","单位","数量","单价（元）","合价（元）","备注"]
["一","范楼镇"]
[1,"DN200闸阀","1.种类:闸阀\n2.规格:DN200\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",9,null,null,""]
[2,"DN150闸阀","1.种类:闸阀\n2.规格:DN150\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",46]
[3,"DN150止回阀","1.公称直径:DN150\n2.阀门类型:止回阀                   \n3.阀瓣：橡胶组合件","个",15]
[4,"DN150限位伸缩器","1.公称直径:DN150\n2.阀门类型:限位伸缩器","个",15,null,null,""]
[5,"DN100闸阀","1.种类:闸阀\n2.规格:DN100\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",85]
[6,"DN100止回阀","1.公称直径:DN100\n2.阀门类型:止回阀                   \n3.阀瓣：橡胶组合件","个",37]
[7,"DN100限位伸缩器","1.公称直径:DN100\n2.阀门类型:限位伸缩器","个",37]
[8,"DN80闸阀","1.种类:闸阀\n2.规格:DN80\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",67]
[9,"DN80止回阀","1.公称直径:DN80\n2.阀门类型:止回阀                   \n3.阀瓣：橡胶组合件","个",15]
[10,"DN80限位伸缩器","1.公称直径:DN80\n2.阀门类型:限位伸缩器","个",15]
[11,"DN50闸阀","1.种类:闸阀\n2.规格:DN50\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",179]
[12,"DN25闸阀","1.种类:闸阀\n2.规格:DN25\n3.连接方式:螺纹连接\n4.材质：铜","个",29]
[13,"DN25复合排气阀","1.种类:复合排气阀\n2.规格:DN25\n3.连接方式:螺纹连接\n4.材质：铜","个",29]
["二","常店镇"]
[1,"DN50闸阀","1.种类:闸阀\n2.规格:DN50\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",30,null,null,""]
[2,"DN80闸阀","1.种类:闸阀\n2.规格:DN80\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",16]
[3,"DN150闸阀","1.种类:闸阀\n2.规格:DN150\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",12]
[4,"DN150止回阀","1.公称直径:DN150\n2.阀门类型:止回阀               \n3.阀瓣：橡胶组合件","个",4]
[5,"DN150限位伸缩器","1.公称直径:DN150\n2.阀门类型:限位伸缩器","个",4]
[6,"DN25闸阀","1.种类:闸阀\n2.规格:DN25\n3.连接方式:螺纹连接\n4.材质：铜","个",3]
[7,"DN25复合排气阀","1.种类:复合排气阀\n2.规格:DN25\n3.连接方式:螺纹连接\n4.材质：铜","个",3]
[8,"DN100闸阀","1.种类:闸阀\n2.规格:DN100\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",8,null,null,""]
["三","华山镇"]
[1,"DN25闸阀","1.种类:闸阀\n2.规格:DN25\n3.连接方式:螺纹连接\n4.材质：铜","个",3]
[2,"DN25复合排气阀","1.种类:复合排气阀\n2.规格:DN25\n3.连接方式:螺纹连接\n4.材质：铜","个",3]
[3,"DN100闸阀","1.种类:闸阀\n2.规格:DN100\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",1]
[4,"DN150闸阀","1.种类:闸阀\n2.规格:DN150\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",1]
["四","宋楼镇"]
[1,"DN25闸阀","1.种类:闸阀\n2.规格:DN25\n3.连接方式:螺纹连接\n4.材质：铜","个",3]
[2,"DN25复合排气阀","1.种类:复合排气阀\n2.规格:DN25\n3.连接方式:螺纹连接\n4.材质：铜","个",3]
[3,"DN50闸阀","1.种类:闸阀\n2.规格:DN50\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",30]
[4,"DN80闸阀","1.种类:闸阀\n2.规格:DN80\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",16]
[5,"DN100闸阀","1.种类:闸阀\n2.规格:DN100\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",26]
[6,"DN100止回阀","1.公称直径:DN100\n2.阀门类型:止回阀                   \n3.阀瓣：橡胶组合件","个",37]
[7,"DN100限位伸缩器","1.公称直径:DN100\n2.阀门类型:限位伸缩器","个",9]
[8,"DN150闸阀","1.种类:闸阀\n2.规格:DN150\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",15]
[9,"DN150止回阀","1.公称直径:DN150\n2.阀门类型:止回阀                   \n3.阀瓣：橡胶组合件","个",4]
[10,"DN150限位伸缩器","1.公称直径:DN150\n2.阀门类型:限位伸缩器","个",4]
["五","王沟镇"]
[1,"DN100闸阀","1.种类:闸阀\n2.规格:DN100\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",114]
[2,"DN100止回阀","1.公称直径:DN100\n2.阀门类型:止回阀                   \n3.阀瓣：橡胶组合件","个",57]
[3,"DN100限位伸缩器","1.公称直径:DN100\n2.阀门类型:限位伸缩器","个",57]
[4,"DN25闸阀","1.种类:闸阀\n2.规格:DN25\n3.连接方式:螺纹连接\n4.材质：铜","个",33]
[5,"DN25复合排气阀","1.种类:复合排气阀\n2.规格:DN25\n3.连接方式:螺纹连接\n4.材质：铜","个",33]
[6,"DN50闸阀","1.种类:闸阀\n2.规格:DN50\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",356]
[7,"DN80闸阀","1.种类:闸阀\n2.规格:DN80\n3.连接方式:法兰连接\n4.螺栓螺母材质：304不锈钢及以上\n5.阀体材质：QT450\n6.阀杆、阀板材质：铜","个",18]
["六","备用金",null,"项",1,null,{"v":15000,"d":"15000.00"}]
["备注：\n1、螺栓和螺母材质为不锈钢；\n2、此单价为包干单价，含生产、检验、包装、运输、损耗、卸货、验货、检验试验、验收、管理、利润、保修、规费、税金、安全等一切相关费用，还包括因质量问题引起的维修和更换、技术指导和培训等费用。\n3、DN100及以上阀门按规格各提供两套延长杆。"]